## INDEX
Sugar Plant DS House Electrical Equipments-Motors
Sr.No. | Plant | Section | Location | Main Equipment | Sub Equipment | Department | History card Tag Nos. | History card Location
1 | SUGAR | DS HOUSE | DS House | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.1 MOTOR(AC) | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/BATCH/M-01 | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL
2 | SUGAR | DS HOUSE | DS House | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.2 MOTOR(DC) | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/BATCH/M-02 | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL
3 | SUGAR | DS HOUSE | DS House | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.3 MOTOR(AC) | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/BATCH/M-03 | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL
4 | SUGAR | DS HOUSE | DS House | DS B-CONTI MACHINE | DS B-CONTI NO-1 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-01 | SUGAR PLANT DS HOUSE B-CONTI MACHINE
5 | SUGAR | DS HOUSE | DS House | DS B-CONTI MACHINE | DS B-CONTI NO-2 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-02 | SUGAR PLANT DS HOUSE B-CONTI MACHINE
6 | SUGAR | DS HOUSE | DS House | DS B-CONTI MACHINE | DS B-CONTI NO-3 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-03 | SUGAR PLANT DS HOUSE B-CONTI MACHINE
7 | SUGAR | DS HOUSE | DS House | DS B-CONTI MACHINE | DS B-CONTI NO-4 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-04 | SUGAR PLANT DS HOUSE B-CONTI MACHINE
8 | SUGAR | DS HOUSE | DS House | DS SPRAY | DS SPRAY-1 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/SPRAY/M-01 | SUGAR PLANT DS HOUSE SPRAY
9 | SUGAR | DS HOUSE | DS House | DS INJECTION | DS INJECTION-1 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/INJECTION/M-01 | SUGAR PLANT DS HOUSE INJECTION
10 | SUGAR | DS HOUSE | DS House | DS INJECTION | DS INJECTION-4 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/INJECTION/M-04 | SUGAR PLANT DS HOUSE INJECTION
11 | SUGAR | DS HOUSE | DS House | DS INJECTION | DS INJECTION-5 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/INJECTION/M-05 | SUGAR PLANT DS HOUSE INJECTION
12 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-1 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-01 | SUGAR PLANT DS HOUSE C-CONTI
13 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-3 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-03 | SUGAR PLANT DS HOUSE C-CONTI
14 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-4 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-04 | SUGAR PLANT DS HOUSE C-CONTI
15 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-5 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-05 | SUGAR PLANT DS HOUSE C-CONTI
16 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-6 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-06 | SUGAR PLANT DS HOUSE C-CONTI
17 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-7 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-07 | SUGAR PLANT DS HOUSE C-CONTI
18 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-9 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-09 | SUGAR PLANT DS HOUSE C-CONTI
19 | SUGAR | DS HOUSE | DS House | DS C-CONTI MACHINE | DS C-CONTI-10 MOTOR | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-10 | SUGAR PLANT DS HOUSE C-CONTI
20 | SUGAR | DS HOUSE | DS House | DS CLEAR JUICE | DS CLEAR JUICE PUMP MOTOR-1 | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/CJ/M-01 | SUGAR PLANT DS HOUSE CLEAR JUICE
21 | SUGAR | DS HOUSE | DS House | DS CLEAR JUICE | DS CLEAR JUICE PUMP MOTOR-2 | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/CJ/M-02 | SUGAR PLANT DS HOUSE CLEAR JUICE
22 | SUGAR | DS HOUSE | DS House | DS Semi kestner | DS Semi kestner juice transfer pump-1 (South) Motor | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/SK/M-01 | SUGAR PLANT DS HOUSE SEMI KESTNER
23 | SUGAR | DS HOUSE | DS House | DS Semi kestner | DS Semi kestner juice transfer pump-2 (North) Motor | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/SK/M-02 | SUGAR PLANT DS HOUSE SEMI KESTNER
24 | SUGAR | DS HOUSE | DS House | DS Vapour cell juice | DS Vapour cell juice transfer pump-1(S) Motor | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/VC/M-01 | SUGAR PLANT DS HOUSE VAPOUR CELL
25 | SUGAR | DS HOUSE | DS House | DS Vapour cell juice | DS Vapour cell juice transfer pump-2(N) Motor | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/VC/M-02 | SUGAR PLANT DS HOUSE VAPOUR CELL
26 | SUGAR | DS HOUSE | DS House | DS COMMON CONDENSATE | DS COMMON CONDENSATE PUMP MOTOR-1 | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/CC/M-01 | SUGAR PLANT DS HOUSE COMMON CONDENSATE
27 | SUGAR | DS HOUSE | DS House | DS COMMON CONDENSATE | DS COMMON CONDENSATE PUMP MOTOR-2 | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/CC/M-02 | SUGAR PLANT DS HOUSE COMMON CONDENSATE
28 | SUGAR | DS HOUSE | DS House | DS FFE(2500) CIRCULATION | DS FFE(2500) CIRCULATION PUMP NO.1 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-01 | SUGAR PLANT DS HOUSE FFE
29 | SUGAR | DS HOUSE | DS House | DS FFE(2500) CIRCULATION | DS FFE(2500) CIRCULATION PUMP NO.2 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-02 | SUGAR PLANT DS HOUSE FFE
30 | SUGAR | DS HOUSE | DS House | DS FFE(2500) TRANSFER | DS FFE(2500) TRANSFER PUMP NO.1 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-01 | SUGAR PLANT DS HOUSE FFE
31 | SUGAR | DS HOUSE | DS House | DS FFE(2500) TRANSFER | DS FFE(2500) TRANSFER PUMP NO.2 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-02 | SUGAR PLANT DS HOUSE FFE
32 | SUGAR | DS HOUSE | DS House | DS FFE(1250) CIRCULATION | DS FFE(1250) CIRCULATION PUMP NO.1 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-01 | SUGAR PLANT DS HOUSE FFE
33 | SUGAR | DS HOUSE | DS House | DS FFE(1250) CIRCULATION | DS FFE(1250) CIRCULATION PUMP NO.2 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-02 | SUGAR PLANT DS HOUSE FFE
34 | SUGAR | DS HOUSE | DS House | DS FFE(1250) TRANSFER | DS FFE(1250) TRANSFER PUMP NO.1 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-01 | SUGAR PLANT DS HOUSE FFE
35 | SUGAR | DS HOUSE | DS House | DS FFE(1250) TRANSFER | DS FFE(1250) TRANSFER PUMP NO.2 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-02 | SUGAR PLANT DS HOUSE FFE
36 | SUGAR | DS HOUSE | DS House | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.1 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/ETP C/M-01 | SUGAR PLANT DS HOUSE ETP COMPRESSOR
37 | SUGAR | DS HOUSE | DS House | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.2 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/ETP C/M-02 | SUGAR PLANT DS HOUSE ETP COMPRESSOR
38 | SUGAR | DS HOUSE | DS House | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.3 MOTOR. | ELECTRICAL | ZIL/GSM/SP/ELECT/DS/ETP C/M-03 | SUGAR PLANT DS HOUSE ETP COMPRESSOR

## DS BATCH MC-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS 'A' C/F MACHINE(1750 KG) NO.1 MOTOR(AC)
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE 'A' C/F 1750
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/BATCH/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | ABB- AC SQ. CAGE MOTOR |  |  | Machine Sr. No. |  | 3G2J15430090060963
Rated Power |  |  | 250 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 440 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 740 |  |  | Duty |  | S1
Frame No. |  |  | 355M |  |  | Bearings |  | DE-6322C3,NDE-6319/C3VL0241
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Bharat Verma / Akhilesh Yadav | Motor Stator-200 M-Ohm
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh Yadav | Motor Stator-200 M-Ohm
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh Yadav | Motor Stator-200 M-Ohm

## DS BATCH MC-2 DC MOTOR
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS 'A' C/F MACHINE(1750 KG) NO.2 MOTOR(DC)
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE 'A' C/F 1750
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/BATCH/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | INTEGRATED ELECTRIC COMPANY-DC MOTOR |  |  | Machine Sr. No. |  | NOT CLEARED
Rated Power |  |  | 145 KW |  |  | Year of Manufacture |  | 2007
Rated Voltage Armature |  |  | 400 ±10% KV |  |  | Rated Current Armature |  | 418 Amp
Rated Voltage Field |  |  | 220 |  |  | Rated Current Field |  | 17.6 - 3.7
Winding |  |  | Shunt |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 400 -1100 |  |  | Duty |  | S1
Protection |  |  | NA |  |  | Brush Size |  | 32x16
Frame No. |  |  | IEFC-315L |  |  | Bearings |  | DE-NU-222 C3 , NDE-6322 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
4 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
OFF -Season |  | 2020-21 | Motor(Rotor) rewinding offer got from Kanpur, Bharat Electric work in the month of Sept.-21 |  | Motor Armature rewinded from Bharat Electr |  | 140000 | External | Bharat Verma / Akhilesh Yadav | Armature -200 M-Ohm, Field -150 M-Ohm,
OFF -Season |  | 2021-22 | OK |  | OK |  | NO | NO | Bharat Verma / Akhilesh Yadav | Armature -200 M-Ohm Field -200 M-Ohm,
Season |  | 2022-23 | Megger Value -with E-Zero |  | Two times motor wash with water & heating done then checked Armature megger value found Zero ofter that Motor Armature rewinded from Bharat Electrical Kanpur,in the month of OCT-2023. |  | 140000 | External | Vijay Chaudhary / Akhilesh Yadav | Armature -0 M-Ohm, Field -200 M-Ohm,
OFF -Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh Yadav | Armature -200 M-Ohm Field -200 M-Ohm,
Season |  | 2024-25 | Spark at commutator found 03 nos carbon brush out of order. |  | Cleaning done and 03 nos carbon brush replaced & started. |  | NO | internal | Vijay Chaudhary / Akhilesh Yadav
Season |  | 2025-26 | Motor(Stator) burnt during season |  | Motor(Stator) rewinding from Banswar Electrical,Lakhimpur |  | NO | NO | Vijay Chaudhary / Akhilesh Yadav | Motor Rewinding Under progress.

## DS BATCH MC-3
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS 'A' C/F MACHINE(1750 KG) NO.3 MOTOR(AC)
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE 'A' C/F 1750
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/BATCH/M-03
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | ABB- AC SQ. CAGE MOTOR |  |  | Machine Sr. No. |  | 3G2J25180090132786
Rated Power |  |  | 250 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 454 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 740 |  |  | Duty |  | S1
Frame No. |  |  | 355M |  |  | Bearings |  | DE-6322C3,NDE-6319/C3VL0241
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh Yadav | New WIL M/C installed -2025

## B-CONTI MC-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS B-CONTI NO-1 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE B-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | SIEMENSE- 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
Frame No. |  |  | 280 M |  |  | Bearings |  | DE- NU317 , NDE-6317 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | One lead Y-phase heated at termial out side. |  | Repaired. |  | NO | Internal | Vijay Chaudhary / Abhaylal
Off Season |  | 2024 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Vikash Srivastav
Off Season |  | 2025 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Vikash Srivastav
Off Season |  | 2026 | Sound observed. |  | Both bearing replaced due to sound observed. |  | NO | Internal | Vijay Chaudhary / Pappu Singh

## B-CONTI MC-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS B-CONTI NO-2 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE B-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | SIEMENSE- 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
Frame No. |  |  | 280 M |  |  | Bearings |  | DE- NU317 , NDE-6317 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | One lead R-phase heated at termial out side. |  | Repaired. |  | NO | Internal | Vijay Chaudhary / Abhaylal
Season |  | 2024-25 | One lead B-phase heated at termial out side. |  | Repaired. |  | NO | Internal | Vijay Chaudhary / Abhaylal
Off Season |  | 2025 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Vikash Srivastav
Off Season |  | 2026 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Pappu Singh

## B-CONTI MC-3
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS B-CONTI NO-3 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE B-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-03
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | SIEMENSE- 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
Frame No. |  |  | 280 M |  |  | Bearings |  | DE- NU317 , NDE-6317 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Off Season |  | 2023 | Ok |  | Ok |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2024 | Ok |  | Ok |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2025 | Ok |  | Ok |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2026 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Pappu Singh

## B-CONTI MC-4
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS B-CONTI NO-4 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE B-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-04
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | SIEMENSE- 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
Frame No. |  |  | 280 M |  |  | Bearings |  | DE-NU316 , NDE-6316 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Off Season |  | 2023 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Off Season |  | 2024 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Off Season |  | 2025 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Off Season |  | 2026 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Pappu Singh

## SPRAY-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS SPRAY-1 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE SPRAY
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/SPRAY/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | KIRLOSKAR-3-PH SLIP RING MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 250 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 430 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 970 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6322C3,NDE-7320 B
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2022-23 | Slip ring short link cut(B) and 03 nos carbon brush out of order |  | One shorting lead and 03 nos carbon brush replaced. |  | NO | Internal | Bharat Verma / Vikash
Season |  | 2023-24 | Slip ring one shorting lead(Y) over heated. |  | Repaired. |  | NO | Internal | Vijay Chaudhary / Abhaylal
Season |  | 2024-25 | Slip ring short link heated(Y) and 02 nos carbon brush out of order |  | One shorting lead and 02 nos carbon brush replaced. |  | NO | Internal | Vijay Chaudhary / Abhaylal
Season |  | 2025-26 | Slip ring out of order(Slip Ring 02 nos stud broken) |  | Slip ring stud repaired. |  | NO | Internal | Vijay Chaudhary / Pappu singh

## INJECTION-1
SPRAY-3 | EQUIPMENT LIFE HISTORY CARD
| NAME OF EQUIPMENT : | [5 empty] | DS INJECTION-1 MOTOR
| LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE INJECTION
| EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/INJECTION/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
| Make |  |  | ALSTOM-3-PH SLIP RING MOTOR |  |  | Machine Sr. No.
| Rated Power |  |  | 250 KW |  |  | Year of Manufacture
| Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 430 Amp.
| Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
| RPM |  |  | 970 |  |  | Duty |  | S1
| Frame No. | [5 empty] | Bearings |  | DE-NU324 , NDE-QJ320N2
GSM MAINTENANCE SCHEDULE
| Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
[5 empty] | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
| 1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  |  | Checking of motor cable terminal & Joints. |  |  | √
|  |  | Cleaning of Stator winding and Connection |  |  | X
|  |  | Measure IR of Stator winding. |  |  | X
| 2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  |  | Check whether all fastening elements are tight. |  |  | √
|  |  | Visual Inspection of Rotor. |  |  | X
| 3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
| 6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
| Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
| Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2024-25 | Spark at slip ring. |  | Slip ring,carbon brush & carbon holder cleaning done with petrol and air & started. |  | NO | Internal | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2025-26 | Motor Burnt(Only one coil) Due to rotor rubbing in stator(Bearing sheet cut NDE side) & also bearing replaced(QJ 320 N2) |  | Motor repaired and bearing sheet also repaired. |  |  | Internal/External | Vijay Chaudhary / Akhilesh yadav

## INJECTION-4
SPRAY-3 | EQUIPMENT LIFE HISTORY CARD
| NAME OF EQUIPMENT : | [5 empty] | DS INJECTION-4 MOTOR
| LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE INJECTION
| EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/INJECTION/M-04
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
| Make |  |  | KIRLOSKAR-3-PH SLIP RING MOTOR |  |  | Machine Sr. No.
| Rated Power |  |  | 110 KW |  |  | Year of Manufacture
| Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 190 Amp.
| Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
| RPM |  |  | 970 |  |  | Duty |  | S1
| Frame No. | [5 empty] | Bearings |  | DE- NU-321-E-XL , NDE- 6315 C3
GSM MAINTENANCE SCHEDULE
| Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
[5 empty] | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
| 1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  |  | Checking of motor cable terminal & Joints. |  |  | √
|  |  | Cleaning of Stator winding and Connection |  |  | X
|  |  | Measure IR of Stator winding. |  |  | X
| 2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  |  | Check whether all fastening elements are tight. |  |  | √
|  |  | Visual Inspection of Rotor. |  |  | X
| 3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
| 6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
| Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
| Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2024-25 | Power cable one lead(B) heated at terminal. |  | Repaired. |  | NO | Internal | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav

## INJECTION-5
SPRAY-3 | EQUIPMENT LIFE HISTORY CARD
| NAME OF EQUIPMENT : | [5 empty] | DS INJECTION-5 MOTOR
| LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE INJECTION
| EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/INJECTION/M-05
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
| Make |  |  | ALSTOM-3-PH SLIP RING MOTOR |  |  | Machine Sr. No.
| Rated Power |  |  | 250 KW |  |  | Year of Manufacture
| Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 430 Amp.
| Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
| RPM |  |  | 970 |  |  | Duty |  | S1
| Frame No. | [5 empty] | Bearings |  | DE-NU324 E-M1,NDE-QJ320N2M
GSM MAINTENANCE SCHEDULE
| Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
[5 empty] | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
| 1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  |  | Checking of motor cable terminal & Joints. |  |  | √
|  |  | Cleaning of Stator winding and Connection |  |  | X
|  |  | Measure IR of Stator winding. |  |  | X
| 2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  |  | Check whether all fastening elements are tight. |  |  | √
|  |  | Visual Inspection of Rotor. |  |  | X
| 3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
| 6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
| Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
| Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav
| Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary / Akhilesh yadav

## C-CONTI-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-1 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-NU315 , NDE-6313 ZZC3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2026 | Sound observed DE side. |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Bhupendra

## C-CONTI-3
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-3 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-03
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU315 , NDE-6313 ZZC3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | Motor shaft broken |  | Another motor provided & motor shaft repaired. |  | NO | Internal | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2026 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Bhupendra

## C-CONTI-4
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-4 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-04
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-6315 C3 , NDE-6313 ZZC3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | Motor shaft broken |  | Another motor provided & motor shaft repaired. |  | NO | Internal | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | One lead B-phase heated at termial |  | Repaired. |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2026 | Sound observed NDE side. |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Bhupendra

## C-CONTI-5
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-5 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-05
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-6215 C3 , NDE-6215 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Off Season |  | 2026 | Bearing inner race spot(NDE) |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Bhupendra

## C-CONTI-6
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-6 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-06
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU315, NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav

## C-CONTI-7
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-7 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-07
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU315, NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav

## C-CONTI-9
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-9 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-09
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU314, NDE-6314 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav

## C-CONTI-10
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS C-CONTI-10 MOTOR
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE C-CONTI
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-10
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH VERTICAL FLANGE MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU315, NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2021-22 | OK |  | OK |  | NO | NO | Bharat Verma / Vikash Srivastav
Season |  | 2022-23 | OK |  | OK |  | NO | NO | Bharat Verma / Vikash Srivastav
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash Srivastav

## CLEAR JUICE PUMP MOTOR-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS CLEAR JUICE PUMP MOTOR-1
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE CLEAR JUICE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/CJ/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 110 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 190 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-6318 C3, NDE-6314 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh |  | `
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh

## CLEAR JUICE PUMP MOTOR-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS CLEAR JUICE PUMP MOTOR-2
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE CLEAR JUICE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/CJ/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 110 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 190 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU318,NDE-6314 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh |  | `
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh

## SEMI KESTNER JUICE TRANSFER -1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS Semi kestner juice transfer pump-1 (South) Motor
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE Semi kestner
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/SK/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-6316 C3, NDE-6315 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh

## SEMI KESTNER JUICE TRANSFER -2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS Semi kestner juice transfer pump-2 (North) Motor
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE Semi kestner
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/SK/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1470 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-6316 C3, NDE-6315 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Off Season |  | 2026 | Sound observed DE side. |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Akhilesh

## Vapour cell juice TF pump-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS Vapour cell juice transfer pump-1(S) Motor
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE VAPOUR CELL
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/VC/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 75 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 129 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1440 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU316 , NDE-6315 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Off Season |  | 2026 | Sound observed DE side. |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Akhilesh

## Vapour cell juice TF-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS Vapour cell juice transfer pump-2(N) Motor
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE VAPOUR CELL
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/VC/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 75 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 129 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1440 |  |  | Duty |  | S1
[6 empty] | Bearings |  | DE-NU315 , NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh

## COMMON CONDENSATE-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS COMMON CONDENSATE PUMP MOTOR-1
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE COMMON CONDENSATE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/CC/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR(ABB) |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. |  |  | 250MB4 |  |  | Bearings |  | DE-6315 C3,NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Off Season |  | 2026 | Sound observed NDE side. |  | Bearing replaced. |  |  | Internal | Vijay Chaudhary/ Rajiv

## COMMON CONDENSATE-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS COMMON CONDENSATE PUMP MOTOR-2
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE COMMON CONDENSATE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/CC/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR(ABB) |  |  | Machine Sr. No.
Rated Power |  |  | 55 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 95 Amp.
Protection |  |  | IP55 |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. |  |  | 250MB4 |  |  | Bearings |  | DE-6315 C3,NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Akhilesh
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Akhilesh
Off Season |  | 2026 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Rajiv

## FFE(2500)-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(2500) CIRCULATION PUMP NO.1 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6316 C3,NDE-6315 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(2500)-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(2500) CIRCULATION PUMP NO.2 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 90 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 156 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-NU318,NDE-6318 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(2500)T-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(2500) TRANSFER PUMP NO.1 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 30 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 54 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6312 C3,NDE-6310 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(2500)T-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(2500) TRANSFER PUMP NO.2 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 30 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 54 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6312 C3,NDE-6310 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(1250)-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(1250) CIRCULATION PUMP NO.1 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 C3,NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(1250)-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(1250) CIRCULATION PUMP NO.2 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 C3,NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(1250)T-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(1250) TRANSFER PUMP NO.1 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 C3,NDE-6313 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## FFE(1250)T-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS FFE(1250) TRANSFER PUMP NO.2 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE FFE
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 C3,NDE-6312 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Vikash
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Vikash

## ETP COMPRESSOR-1
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS ETP COMPRESSOR NO.1 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE ETP COMPRESSOR
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/ETP C/M-01
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR(ABB) |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 C3,NDE-6312 C3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Surendra
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra

## ETP COMPRESSOR-2
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS ETP COMPRESSOR NO.2 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE ETP COMPRESSOR
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/ETP C/M-02
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR(ABB) |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 ZC3,NDE-6312 ZC3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Surendra
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra

## ETP COMPRESSOR-3
EQUIPMENT LIFE HISTORY CARD
NAME OF EQUIPMENT : | [5 empty] | DS ETP COMPRESSOR NO.3 MOTOR.
LOCATION : | [5 empty] | SUGAR PLANT DS HOUSE ETP COMPRESSOR
EQUIPMENT NO: | [5 empty] | ZIL/GSM/SP/ELECT/DS/ETP C/M-03
DATE OF COMMISSIONING :
EQUIPMENT SPECIFICATION
Make |  |  | 3-PH SQ.CAGE INDUCTION MOTOR(ABB) |  |  | Machine Sr. No.
Rated Power |  |  | 37 KW |  |  | Year of Manufacture
Rated Voltage |  |  | 415 ±10% KV |  |  | Rated Current |  | 67 Amp.
Protection |  |  | NA |  |  | Winding Insulation Class |  | F - Class
RPM |  |  | 1475 |  |  | Duty |  | S1
Frame No. | [5 empty] | Bearings |  | DE-6313 ZC3,NDE-6312 ZC3
GSM MAINTENANCE SCHEDULE
Sr.No. | Name of Equipment | Maintenance / Inspection Activities |  | Interval | [5 empty] | Remarks
|  |  |  | Weekly | Monthly | Quarterly | Half - Yearly | Yearly | 2 - Years
1 | Stator | Clean & Check of winding , Supports & Bandages |  | X | X | X | X | √ | X
|  | Checking of motor cable terminal & Joints. |  |  | √
|  | Cleaning of Stator winding and Connection |  |  | X
|  | Measure IR of Stator winding. |  |  | X
2 | Rotor | Measure IR of Field winding. |  | X | X | X | X | √ | X
|  | Check whether all fastening elements are tight. |  |  | √
|  | Visual Inspection of Rotor. |  |  | X
3 | Motor Bearing | Checked bearing grease & top up |  | X | X | X | X | √ | X
Extended visual inspection of end shields.
6 | Cooling System (Blower fan) | Forced air colled |  | X | X | X | X | √ | X
EQUIPMENT MAINTENANCE HISTORY
Season / OFF Season |  | Year | Outage/ Observation |  | Action Taken |  | Repair Cost (Rs.) | Services (Internal / External) | Responsibility ( Engineer/ Supervision) | Remarks
Season |  | 2023-24 | OK |  | OK |  | NO | Internal | Vijay Chaudhary/ Surendra
Season |  | 2024-25 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra
Season |  | 2025-26 | OK |  | OK |  | NO | NO | Vijay Chaudhary/ Surendra