## Sheet1
ACCIDENT DATA 2021-2025
Sr. No. | Date | Time | Injured Person Name | Department | Location | Type Of Accident | Description
1 | 21.01.2021 | 11:00AM | Mr. Ritesh Kumar Singh | Engineering Instrument | Mill House | Minor | His leg got slipped & Fall on floor due to Water was accumulated infront of technical office & his left hand got injured.
2 | 15.02.2021 | 11:30AM | Mr. Rajkishor Pandey | Power Plant | 35TPH Boiler | Minor | He was on wall blower no. 16 near boiler steam drum, While working left side foot got Minor injury due to protruding bolt on sheet.
3 | 01.06.2021 | 01:25PM | Mr. Siyaram | Power Plant | 150 tph boiler | Fatal | There was heavy rain on 01.06.2021. Afterward dewatering of hopper to be carried out to prevent the water logged machineries inside the hopper. During pump operation there was electric current leakage and Siyaram got affected and felt on ground.
4 | 12.01.2022 | 10:25PM | Mr. Shera | Engineering Electrical | Godown No. 9 | Minor | He fall from stair at height approx 5 feet from step 1 to 3 due to his foot got slipped. He got Minor injury to his foot.
5 | 07.03.2022 | 05:00AM | Mr. Shivakant Awasthi | Distillery | Fermentation House | Minor | During sterlization of prefermentor, steam leaked from hose pipe & he got Minor injury with steam to his left hand.
6 | 09.12.2022 | 07:00AM | Mr. Manohar | Manufacturing | DS House | Major | At old house during FFE(1250 m2) body checking work, his foot slipped and got injury to his left hand & waist.
7 | 31.03.23 | 06.55PM | Mr.Bablu Rai & Mr.Rakesh Singh | Power Plant | 150 tph boiler | Fatal | Boiler running with normal parameter on 150TPH steam flow set. At 06:55PM abnormal sound create toward furnace side & at same time boiler & turbine tripped immediately and found down comer supply pipe water wall tube ruptured condition.
8 | 27.07.23 | 02.20 PM | Mr. Kamal Kishor | Engineering Electrical | New molasses tank no:09 | Major | He slipped from the ladder and fall at pump section pipe line, he hits with the raised pipe on the back bone.
9 | 10.09.2023 | 11:00AM | Mr. Sirajul Rehman (ESAB Contractor) | Engineering | Mill House Mill no. 4 | Major | He was engaged in grinding work the mill house transmission gear job in mill no 4, while he was engaged gear cleaning work with grinder. Suddenly grinding wheel broken and have cut on left thumb finger and another cut on right hand arm.
10 | 06.12.23 | 09.15 PM | Mr. Pavan Nishad | Manufacturing | Ds C- Overhead Crystallizer | Minor | Mr. Pavan Nishad (Asst. manager) chemist fell from 12 M height of C- Overhead Crystallizer back side plat form & Mr. Ajith - C-Vertical crystallizer Operator was with him. Both of them went to operate butter fly valve for cooling water coil .
11 | 20.09.2024 | 9:30 | Mr. Harishankar | Engineering | DS house juice sulphiter | Minor | He were working on temporary platform of 4 feet (1.22 Meter) height for maintenance of DS house juice sulphiter, They kept the DS house juice sulphiter man hole cover on temporary platform due to overweight of man hole cover that temporary platform got down, fracture on right leg ankle
12 | 18.10.2024 | 4:30PM | Mr.Mohit&Mr.Gurmeet | Engineering | Mill House | Minor | mill house Mill Equipment's trial is going on.. during routine checking of equipment two persons got injured. during checking of equipment's Mr. Mohit-Fitter got slipped (just after power cut) and hit with rotating coupling & got injury to his both leg, Mr. Gurmeet-Head Fitter got injury to his mouth to save Mr. Mohit.
13 | 27.12.2024 | 8:30AM | Mr. Prathvipal | Engineering | Cane carrier | Fatal | Road accident-Truck trippler operator hit by truck no. UP78CN7570, road accident at donga Cane Carrier while going with a two wheeler. he got injury to his right hand & shoulder
14 | 20.01.2025 | 4:30 | Mr. Krishna Rajeev Gaour (Monu) | IT | 9No. Godown | Minor | Road accident-Mr. Krishna Rajeev Gaour (Monu) Computer Operator hit by truck no. UP78DN5101, Driver Name- Mr. Shivam, transporter-Indrapal Singh at 9No.Godown while Krishna Rajeev coming from 9No. Loading point truck reversing got hit fall down & injury to his right foot 2 wounds
15 | 12.11.2025 | 18:30 | Mr. Shri Ram Yadav | Production | closing of steam inlet value of pan-8 | Minor | while closing of steam inlet value of pan-8 the leaked pan washing steam line was attended during mill stopped in morning on same day however the leakage could not be stopped due to leak pipe. An Aluminum sheet was placed below to divert hot condenser water, but at the time of closing the steam inlet value pan-8, sheet got displaced and hot water fall on employee face got burn.