## Summary
Issue type | Count
Hierarchy equipment rows | 108
Hierarchy rows WITH data | 108
Hierarchy rows WITHOUT data | 0
Cards not matched to hierarchy | 0
Ambiguous tag+name (skipped) | 0
Duplicate tags in hierarchy | 3

## All hierarchy rows
source file | History card Tag Nos. | Department | Section | Location | Main Equipment | Sub Equipment | History card Location | Found in data | Matched sheet / card
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/EC/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Exhaust Condenset | DS Exhaust Condenset pump-1 Motor (East) | SUGAR PLANT DS HOUSE Evaporator station | Yes | Exhaust Condenset Motor 1-4 :: DS Exhaust Condenset pump-1 Motor (East)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/EC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Exhaust Condenset | DS Exhaust Condenset pump-2 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Exhaust Condenset Motor 1-4 :: DS Exhaust Condenset pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/EC/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Exhaust Condenset | DS Exhaust Condenset pump-3 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Exhaust Condenset Motor 1-4 :: DS Exhaust Condenset pump-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/EC/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Exhaust Condenset | DS Exhaust Condenset pump-4 Motor (West) | SUGAR PLANT DS HOUSE Evaporator station | Yes | Exhaust Condenset Motor 1-4 :: DS Exhaust Condenset pump-4 Motor(West)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/1st FCP/M-01 | ELECTRICAL | DS HOUSE | DS House | DS 1st effect calendria | DS 1st effect calendria flash cond. Pump Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | 1st Effect calendia :: DS 1st effect calendria flash cond. Pump Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/ZD/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Zero Discharge | DS Zero Discharge Pump-1 (N) Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Zero Discharge motor1-2 :: DS Zero Discharge Pump-1 (N) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/ZD/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Zero Discharge | DS Zero Discharge Pump-2 (S) Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Zero Discharge motor1-2 :: DS Zero Discharge Pump-2 (S) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CS/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Castinc soda dosing | DS Castinc soda dosing pump Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Castinc Soda Dosing Motor :: DS Castinc soda dosing pump Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/EJ/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Evaporator juice | DS Evaporator juice liquidation pump Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Evaporator juice Liquidation :: DS Evaporator juice liquidation pump Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CW/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Cold water & hydrolic | DS Cold water & hydrolic pump Motor( Below quard ) | SUGAR PLANT DS HOUSE Evaporator station | Yes | Cold & Hydrolic Motor :: DS Cold water & hydrolic pump Motor( Below quard )
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-1 A Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-1 A Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-2 A Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-2 A Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-3 B Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-3 B Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-4 B Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-4 B Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-05 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-5 C Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-5 C Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/US/M-06 | ELECTRICAL | DS HOUSE | DS House | DS Unsulphured syrup | DS Unsulphured syrup Pump-6 C Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Unsulphured syrup 1-6 :: DS Unsulphured syrup Pump-6 C Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AP/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Accumulator Pump | DS Accumulator pump no.1 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Accumulator Motor 1-2 :: DS Accumulator pump no.1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AP/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Accumulator Pump | DS Accumulator pump no.2 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Accumulator Motor 1-2 :: DS Accumulator pump no.2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/JH/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Juice heater liquidation | DS Juice heater liquidation pump no.1 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Juice Heater Motor 1-2 :: DS Juice heater liquidation pump no.1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/JH/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Juice heater liquidation | DS Juice heater liquidation pump no.2 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Juice Heater Motor 1-2 :: DS Juice heater liquidation pump no.2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/JHC/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Juice heater Condensate | DS Juice heater Condensate pump no.1 Motor | SUGAR PLANT DS HOUSE Evaporator station | Yes | Juice heater condensate Motor-1 :: DS Juice heater Condensate pump no.1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SJ/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Sulphited juice pump | DS Sulphited juice pump-1 (west) Motor | SUGAR PLANT DS HOUSE Sulphur station | Yes | Sulphited Juice Motor 1-2 :: DS Sulphited juice pump-1 (west) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SJ/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Sulphited juice pump | DS Sulphited juice pump-2 (East) Motor | SUGAR PLANT DS HOUSE Sulphur station | Yes | Sulphited Juice Motor 1-2 :: DS Sulphited juice pump-2 (East) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MS/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Molten sulphur pump | DS Molten sulphur pump-1 Motor | SUGAR PLANT DS HOUSE Sulphur station | Yes | Molten Sulphur Motor 1-2 :: DS Molten sulphur pump-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MS/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Molten sulphur pump | DS Molten sulphur pump-2 Motor | SUGAR PLANT DS HOUSE Sulphur station | Yes | Molten Sulphur Motor 1-2 :: DS Molten sulphur pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AB/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Air Blower | DS Air Blower Motor -1 slipring (South) | SUGAR PLANT DS HOUSE Sulphur station | Yes | Air Blower Motor 1-4 :: DS Air Blower Motor -1 slipring (South)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AB/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Air Blower | DS Air Blower Motor -2 | SUGAR PLANT DS HOUSE Sulphur station | Yes | Air Blower Motor 1-4 :: DS Air Blower Motor -2
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AB/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Air Blower | DS Air Blower Motor -3 | SUGAR PLANT DS HOUSE Sulphur station | Yes | Air Blower Motor 1-4 :: DS Air Blower Motor -3
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AB/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Air Blower | DS Air Blower Motor -4 | SUGAR PLANT DS HOUSE Sulphur station | Yes | Air Blower Motor 1-4 :: DS Air Blower Motor -4
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/LM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Lime Mixer Tank | DS Lime Mixer Tank-1 Motor | SUGAR PLANT DS HOUSE Lime station | Yes | Lime Mixer Tank Motor 1-3 :: DS Lime Mixer Tank-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/LM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Lime Mixer Tank | DS Lime Mixer Tank -2 Motor | SUGAR PLANT DS HOUSE Lime station | Yes | Lime Mixer Tank Motor 1-3 :: DS Lime Mixer Tank-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/LM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Lime Mixer Tank | DS Lime Mixer Tank -3 Motor | SUGAR PLANT DS HOUSE Lime station | Yes | Lime Mixer Tank Motor 1-3 :: DS Lime Mixer Tank-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/LD/M | ELECTRICAL | DS HOUSE | DS House | DS Lime Drum | DS Lime Drum Motor | SUGAR PLANT DS HOUSE Lime station | Yes | Lime Drum Motor :: DS Lime Drum Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/OC/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS Old Cooling Tower Pump-1(North ) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | Old CT Motor 1-2 & Fan Motor :: DS Old Cooling Tower Pump-1(North ) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/OC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS Old Cooling Tower Pump -2(South) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | Old CT Motor 1-2 & Fan Motor :: DS Old Cooling Tower Pump-2(South) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FAN/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS Old Cooling Tower Fan Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | Old CT Motor 1-2 & Fan Motor :: DS Old Cooling Tower Fan Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/NC/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (North Side) Pump (E) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor (E-W )& Fan Motor :: DS New Cooling Tower (North Side) Pump (E) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/NC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (North Side) Pump (W) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor (E-W )& Fan Motor :: DS New Cooling Tower (North Side) Pump (W) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FAN/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (North Side) Fan Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor (E-W )& Fan Motor :: DS New Cooling Tower (North Side) Fan Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/NC/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (South Side) Pump (E ) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor(E-W) & Fan :: DS New Cooling Tower (South Side) Pump (E ) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/NC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (South Side) Pump (W) Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor(E-W) & Fan :: DS New Cooling Tower (South Side) Pump (W) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FAN/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Old Cooling Tower | DS New Cooling Tower (South Side) Fan Motor | SUGAR PLANT DS HOUSE Cooling Tower | Yes | New CT Motor(E-W) & Fan :: DS New Cooling Tower (South Side) Fan Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VF/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Vaccum Filter 8' x 16' | DS Vaccum Filter 8' x 16' No-1 Drum motor | SUGAR PLANT DS HOUSE RVF | Yes | Vacuum Filter(8'x16') 1-2 Motor :: DS Vaccum Filter 8' x 16' No-1 Drum motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VF/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Vaccum Filter 8' x 16' | DS Vaccum Filter 8' x 16' No-2 Drum motor | SUGAR PLANT DS HOUSE RVF | Yes | Vacuum Filter(8'x16') 1-2 Motor :: DS Vaccum Filter 8' x 16' No-2 Drum motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VF/M | ELECTRICAL | DS HOUSE | DS House | DS Vaccum Filter 14' x 30' | DS Vaccum Filter 14' x 30' Drum motor | SUGAR PLANT DS HOUSE RVF | Yes | Vacuum Filter(14'x30') Motor :: DS Vaccum Filter 14' x 30' Drum motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VF/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Vaccum Filter 14' x 36' | DS Vaccum Filter 14' x 36' Drum motor | SUGAR PLANT DS HOUSE RVF | Yes | Vacuum Filter(14'x36') Motor :: DS Vaccum Filter 14' x 36' Drum motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Mud Mixer (8'x16') | DS Mud Mixer Motor- 1 (8'x16') | SUGAR PLANT DS HOUSE RVF | Yes | Mud Mixer Motor 1-3 :: DS Mud Mixer Motor- 1 (8'x16')
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Mud Mixer (14'x30') | DS Mud Mixer Motor- 2 (14'x30') | SUGAR PLANT DS HOUSE RVF | Yes | Mud Mixer Motor 1-3 :: DS Mud Mixer Motor- 2 (14'x30')
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Mud Mixer (14'x36') | DS Mud Mixer Motor- 3 (14'x36') | SUGAR PLANT DS HOUSE RVF | Yes | Mud Mixer Motor 1-3 :: DS Mud Mixer Motor- 3 (14'x36')
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MB/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Mud belt | DS Mud belt-1 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Mud Belt Motor 1-2 :: DS Mud belt-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/MB/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Mud belt | DS Mud belt-2 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Mud Belt Motor 1-2 :: DS Mud belt-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HW/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Hot water Pump | DS Hot water Pump-1(E) Motor | SUGAR PLANT DS HOUSE RVF | Yes | Hot Water Pump Motor 1-2 :: DS Hot water Pump-1(E) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HW/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Hot water Pump | DS Hot water Pump-2(W) Motor | SUGAR PLANT DS HOUSE RVF | Yes | Hot Water Pump Motor 1-2 :: DS Hot water Pump-2(W) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/KP/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Kakati Pump | DS Kakati Pump-1 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Kakati Pump Motor 1-4 :: DS Kakati Pump-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/KP/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Kakati Pump | DS Kakati Pump-2 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Kakati Pump Motor 1-4 :: DS Kakati Pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/KP/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Kakati Pump | DS Kakati Pump-3 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Kakati Pump Motor 1-4 :: DS Kakati Pump-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/KP/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Kakati Pump | DS Kakati Pump-4 Motor | SUGAR PLANT DS HOUSE RVF | Yes | Kakati Pump Motor 1-4 :: DS Kakati Pump-4 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/DD/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Dorr Drive 36' | DS Dorr Drive 36' Motor | SUGAR PLANT DS HOUSE Dorr | Yes | Dorr Drive Motor :: DS Dorr Drive 36' Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS A-centrifugal | DS A-centrifugal no.2 (NHEC) 1750 blower motor | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A CF Blower Motor :: DS A-centrifugal no.2 (NHEC) 1750 blower motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AP/M | ELECTRICAL | DS HOUSE | DS House | DS A-pug mill | DS A-pug mill Motor for NHEC 1750 kg | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A-Pug Mill Motor :: DS A-pug mill Motor for NHEC 1750 kg
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AH/M-01 | ELECTRICAL | DS HOUSE | DS House | DS A heavy molasses | DS A heavy molasses motor-1 (East) | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A Heavy Molasses Motor1-2 :: DS A heavy molasses motor-1 (East)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AH/M-02 | ELECTRICAL | DS HOUSE | DS House | DS A heavy molasses | DS A heavy molasses motor-2 (West) | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A Heavy Molasses Motor1-2 :: DS A heavy molasses motor-2 (West)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AL/M-01 | ELECTRICAL | DS HOUSE | DS House | DS A light molasses | DS A light molasses motor-1 (East) | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A-Light Molasses Motor 1-2 :: DS A light molasses motor-1 (East)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AL/M-02 | ELECTRICAL | DS HOUSE | DS House | DS A light molasses | DS A light molasses motor-2 (West) | SUGAR PLANT DS HOUSE A-Centrifugal | Yes | A-Light Molasses Motor 1-2 :: DS A light molasses motor-2 (East)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-02 | ELECTRICAL | DS HOUSE | DS House | DS C-CONTI M/C | DS C-CONTI-2 MOTOR | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | C-Conti Motor 2,8,11,12 :: DS C-CONTI-2 MOTOR
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-08 | ELECTRICAL | DS HOUSE | DS House | DS C-CONTI M/C | DS C-CONTI-8 MOTOR | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | C-Conti Motor 2,8,11,12 :: DS C-CONTI-8 MOTOR
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-11 | ELECTRICAL | DS HOUSE | DS House | DS C-CONTI M/C | DS C-CONTI-11 MOTOR | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | C-Conti Motor 2,8,11,12 :: DS C-CONTI-11 MOTOR
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-12 | ELECTRICAL | DS HOUSE | DS House | DS C-CONTI M/C | DS C-CONTI-12 MOTOR | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | C-Conti Motor 2,8,11,12 :: DS C-CONTI-12 MOTOR
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Final-Molasses Pump | DS Final-Molasses Pump-1 (East) Motor | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | Final Molasses Motor 1-2 :: DS Final-Molasses Pump-1 (East) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Final-Molasses Pump | DS Final-Molasses Pump-2 (West) Motor | SUGAR PLANT DS HOUSE C-Centrifugal | Yes | Final Molasses Motor 1-2 :: DS Final-Molasses Pump-2 (East) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.1 (C-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.1 (C-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.2 (C1-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.2 (C1-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.3 (C-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.3 (C-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.4 (C-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.4 (C-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-05 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.5 (B-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.5 (B-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-08 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.8 (A-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.8 (A-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-09 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.9 (A-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.9 (A-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CM/M-10 | ELECTRICAL | DS HOUSE | DS House | DS Crystallizer | DS Crystallizer no.10 (A-Massecuite) Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | Crystallizer Motor 1-10 :: DS Crystallizer no.10 (A-Massecuite) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CO/M-01 | ELECTRICAL | DS HOUSE | DS House | DS C over haed Cryst | DS C over haed Cryst.-1 Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | C-Over Head crystallizer Motor :: DS C over haed Cryst.-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CO/M-03 | ELECTRICAL | DS HOUSE | DS House | DS C over haed Cryst | DS C over haed Cryst.-3 Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | C-Over Head crystallizer Motor :: DS C over haed Cryst.-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CO/M-04 | ELECTRICAL | DS HOUSE | DS House | DS C over haed Cryst | DS C over haed Cryst.-4 Motor | SUGAR PLANT DS HOUSE Crystallizer | Yes | C-Over Head crystallizer Motor :: DS C over haed Cryst.-4 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS B- Massecuite pump | DS B- Massecuite pump-1 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | B-Massecuite Motor 1-5 :: DS B- Massecuite pump-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS B- Massecuite pump | DS B- Massecuite pump-2 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | B-Massecuite Motor 1-5 :: DS B- Massecuite pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS B- Massecuite pump | DS B- Massecuite pump-3 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | B-Massecuite Motor 1-5 :: DS B- Massecuite pump-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BM/M-04 | ELECTRICAL | DS HOUSE | DS House | DS B- Massecuite pump | DS B- Massecuite pump-4 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | B-Massecuite Motor 1-5 :: DS B- Massecuite pump-4 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BM/M-05 | ELECTRICAL | DS HOUSE | DS House | DS B- Massecuite pump | DS B- Massecuite pump-5 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | B-Massecuite Motor 1-5 :: DS B- Massecuite pump-5 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS A- Massecuite pump | DS A- Massecuite pump-1 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | A-Massecuite Motor 1-3 :: DS A- Massecuite pump-1 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS A- Massecuite pump | DS A- Massecuite pump-2 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | A-Massecuite Motor 1-3 :: DS A- Massecuite pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/AM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS A- Massecuite pump | DS A- Massecuite pump-3 Motor | SUGAR PLANT DS HOUSE Massecuite pump | Yes | A-Massecuite Motor 1-3 :: DS A- Massecuite pump-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HF/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Hopper | DS Hopper No-1 ( Flat/Bottom) Motor | SUGAR PLANT DS HOUSE Drier House | Yes | Hopper Motor 1-5 :: DS Hopper No-1 ( Flat/Bottom) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HF/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Hopper | DS Hopper No-2 ( Flat/Bottom) Motor | SUGAR PLANT DS HOUSE Drier House | Yes | Hopper Motor 1-5 :: DS Hopper No-2 ( Flat/Bottom) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HF/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Hopper | DS Hopper No-3 ( Flat/Bottom) Motor | SUGAR PLANT DS HOUSE Drier House | Yes | Hopper Motor 1-5 :: DS Hopper No-3 ( Flat/Bottom) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HF/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Hopper | DS Hopper No-4 ( Flat/Bottom) Motor | SUGAR PLANT DS HOUSE Drier House | Yes | Hopper Motor 1-5 :: DS Hopper No-4 ( Flat/Bottom) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/HF/M-05 | ELECTRICAL | DS HOUSE | DS House | DS Hopper | DS Hopper No-5 ( Flat/Bottom) Motor | SUGAR PLANT DS HOUSE Drier House | Yes | Hopper Motor 1-5 :: DS Hopper No-5 ( Flat/Bottom) Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SE/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Sugar Elevator | DS Sugar Elevator Motor-1 (South) | SUGAR PLANT DS HOUSE Drier House | Yes | Sugar Elevator Motor 1-2 :: DS Sugar Elevator Motor-1 (South)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SE/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Sugar Elevator | DS Sugar Elevator Motor-2 (North) | SUGAR PLANT DS HOUSE Drier House | Yes | Sugar Elevator Motor 1-2 :: DS Sugar Elevator Motor-2 (North)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/TE/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Tyko Elevator | DS Tyko Elevator Motor-1 | SUGAR PLANT DS HOUSE Drier House | Yes | Tyko Elevator Motor 1-4 :: DS Tyko Elevator Motor-1
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/TE/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Tyko Elevator | DS Tyko Elevator Motor-2 | SUGAR PLANT DS HOUSE Drier House | Yes | Tyko Elevator Motor 1-4 :: DS Tyko Elevator Motor-2
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/TE/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Tyko Elevator | DS Tyko Elevator Motor-3 | SUGAR PLANT DS HOUSE Drier House | Yes | Tyko Elevator Motor 1-4 :: DS Tyko Elevator Motor-3
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/TE/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Tyko Elevator | DS Tyko Elevator Motor-4 | SUGAR PLANT DS HOUSE Drier House | Yes | Tyko Elevator Motor 1-4 :: DS Tyko Elevator Motor-4
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/GM/M-01 | ELECTRICAL | DS HOUSE | DS House | DS Gradder | DS Gradder Motor-1 (South) | SUGAR PLANT DS HOUSE Drier House | Yes | Gradder Motor 1-4 :: DS Gradder Motor-1 (South)
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/GM/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Gradder | DS Gradder Motor-2 | SUGAR PLANT DS HOUSE Drier House | Yes | Gradder Motor 1-4 :: DS Gradder Motor-2
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/GM/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Gradder | DS Gradder Motor-3 | SUGAR PLANT DS HOUSE Drier House | Yes | Gradder Motor 1-4 :: DS Gradder Motor-3
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/GM/M-04 | ELECTRICAL | DS HOUSE | DS House | DS Gradder | DS Gradder Motor-4 (North) | SUGAR PLANT DS HOUSE Drier House | Yes | Gradder Motor 1-4 :: DS Gradder Motor-4
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/INJECTION/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Injection | DS Injection pump-2 Motor | SUGAR PLANT DS HOUSE INJECTION | Yes | Injection Motor 2-3 :: DS Injection pump-2 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/INJECTION/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Injection | DS Injection pump-3 Motor | SUGAR PLANT DS HOUSE INJECTION | Yes | Injection Motor 2-3 :: DS Injection pump-3 Motor
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SPRAY/M-02 | ELECTRICAL | DS HOUSE | DS House | DS Spray | DS Spray Motor- 02 | SUGAR PLANT DS HOUSE SPRAY | Yes | Spray Motor 2-3 :: DS SPRAY-2 MOTOR
2_DS Electrical Equipment Life History -MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SPRAY/M-03 | ELECTRICAL | DS HOUSE | DS House | DS Spray | DS Spray Motor- 03 | SUGAR PLANT DS HOUSE SPRAY | Yes | Spray Motor 2-3 :: DS SPRAY-3 MOTOR

## Cards not in hierarchy
source file | sheet name | EQUIPMENT TAG NO | NAME OF EQUIPMENT | Issue

## Ambiguous matches
source file | sheet name | EQUIPMENT TAG NO | NAME OF EQUIPMENT | Issue