## Summary
Issue type | Count
All hierarchy tags | 170
Found in data (Yes) | 169
Not found in data (No) | 1 | Sr.No. | Plant | Section | Location | Main Equipment | Sub Equipment | Department | History card Tag nas. | History card Location
Missing in data | 1 | 2 | SUGAR | MILL HOUSE | MILLING | COOLING TOWER NO.3 | COOLING TOWER NO.3 FAN MOTOR & PANEL | ELECTRICAL | ZIL/GSM/SP/ELCT/MH/51 | SUGAR PLANT MH | not found data of this tag
Duplicate tags | 0 | 3 | SUGAR | MILL HOUSE | MILLING | COOLING TOWER NO.2 | COOLING TOWER NO.2 FAN MOTOR & PANEL | ELECTRICAL | ZIL/GSM/SP/ELCT/MH/50 | SUGAR PLANT MH
Not in hierarchy | 0
Hierarchy duplicates | 0

## All hierarchy tags
source file | hierarchy file | EQUIPMENT TAG NO | Main Equipment | Sub Equipment | Location | Department | History card Location | Found in data | Matched sheet name
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/01 | SHREDDER | SHREDDER MOTOR 1 & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | SHREDDER MOTOR No. 1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/02 | SHREDDER | SHREDDER MOTOR 2 & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | SHREDDER MOTOR No. 2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/03 | ZERO MILL | ZERO MILL DRIVE MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Zero Mill Drive Motor No.3
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/04 | FOURTH MILL | FOURTH MILL DRIVE MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | 4rth Mill Drive Motor No.4
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/05 | CANE UNLOADER 1 | CANE UNLOADER 1 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No.1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/06 | CANE UNLOADER 2 | CANE UNLOADER 2 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No. 2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/07 | CANE UNLOADER 3 | CANE UNLOADER 3 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No. 3
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/08 | CANE UNLOADER 4 | CANE UNLOADER 4 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No.4
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/09 | CANE UNLOADER 5 | CANE UNLOADER 5 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No.5
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/10 | CANE UNLOADER 6 | CANE UNLOADER 6 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | CU-No.6
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/11 | MILL TRANSFORMER | DISTRIBUTION TRANSFORMER 3.15 MVA & PANEL | MILL TRANSFORMER YARD | ELECTRICAL | SUGAR PLANT MH | Yes | Transformer 3.15 MVA
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/12 | MILL TRANSFORMER | CONVERTER TRANSFORMER 2.5 MVA & PANEL | MILL TRANSFORMER YARD | ELECTRICAL | SUGAR PLANT MH | Yes | Transformer 2.5 MVA
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/13 | MILL ELECTRICAL PANEL | H.T PCC PANEL | MILL ELECT PANEL ROOM | ELECTRICAL | SUGAR PLANT MH | Yes | Mill house H.T PCC
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/14 | MILL ELECTRICAL PANEL | L.T PCC & MCC PANEL | MILL ELECT PANEL ROOM | ELECTRICAL | SUGAR PLANT MH | Yes | Mill house L.T PCC & MCC PANEL
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/15 | MILL ELECTRICAL PANEL | VFD PANEL | MILL ELECT PANEL ROOM | ELECTRICAL | SUGAR PLANT MH | Yes | Mill house VFD PANEL
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/16 | FOURTH MILL | FOURTH MILL BLOWER MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Fourth Mill Blower Motor
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/17 | AUXILLERY CANE CARRIER | AUX CANE CARRIER MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Aux. Cane Carier
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/18 | MAIN CANE CARRIER | MAIN CANE CARRIER MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Main Cane Carier
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/19 | CARDIAN DRUM 1 | CARDIAN DRUM-1 MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Cardian Drum-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/20 | CARDIAN DRUM 2 | CARDIAN DRUM-2 MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Cardian Drum-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/21 | CANE KICKER | CANE KICKER MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Cane Kicker
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/22 | FEEDER DRUM | FEEDER DRUM MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Feeder Drum
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/23 | SHREDDER RAKE CARRIER | SHREDDER CARRIER MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Shredder Carier
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/24 | SHREDDER BELT CONVEYOR | SHREDDER BELT CONVEYORV MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Shredder Belt
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/25 | CANE EQUALIZER OF SHREDDER BELT | CANE EQUALIZER MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Cane Equalizer
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/26 | INTER RAKE CARRIER 1 | INTER RAKE CARRIER NO.1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | IRC-No.1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/27 | INTER RAKE CARRIER 2 | INTER RAKE CARRIER NO.2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | IRC-No.2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/28 | INTER RAKE CARRIER 3 | INTER RAKE CARRIER NO.3 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | IRC-No.3
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/29 | INTER RAKE CARRIER 4 | INTER RAKE CARRIER NO.4 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | IRC-No.4
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/30 | SECONDARY JUICE ROTARY SCREEN-2 | SECONDARY JUICE ROTARY SCREEN NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Secondary Rotary Screen No-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/31 | SECONDARY JUICE ROTARY SCREEN -1 | SECONDARY JUICE ROTARY SCREEN NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Secondary Rotary Screen No-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/32 | PRIMERY JUICE ROTARY SCREEN | PRIMERY JUICE ROTARY SCREEN NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Primary Rotary Screen
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/33 | REFINERY SCREEN JUICE PUMP-1 | REF SCREEN JUICE PUMP NO.1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Screen Juice Pump-1 Ref.
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/34 | REFINERY SCREEN JUICE PUMP-2 | REF SCREEN JUICE PUMP NO.2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Screen Juice Pump-2 Ref.
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/35 | DS SCREEN JUICE PUMP-1 | DS SCREEN JUICE PUMP NO.1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | DS Screen Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/36 | DS SCREEN JUICE PUMP-2 | DS SCREEN JUICE PUMP NO.2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | DS Screen Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/37 | 1st STAGE SCREEN JUICE PUMP NO-1 | 1st STAGE SCREEN JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | 1 st Stage Screen Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/38 | 1st STAGE SCREEN JUICE PUMP NO-2 | 1st STAGE SCREEN JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | 1 st Stage Screen Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/39 | COOLING TOWER | COOLING TOWER PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Cooling Tower Pump-1 Motor
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/40 | COOLING TOWER | COOLING TOWER PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Cooling Tower Pump-2 Motor
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/41 | HOT WATER IMBIBITION PUMP-1 | HOT WATER IMBIBITION PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Hot Water Imbibition Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/42 | HOT WATER IMBIBITION PUMP-2 | HOT WATER IMBIBITION PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Hot Water Imbibition Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/43 | ZERO MILL | ZERO MILL JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Zero Mill Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/44 | ZERO MILL | ZERO MILL JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Zero Mill Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/45 | MILL NO 1 | MILL NO.1 JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-1 Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/46 | MILL NO 1 | MILL NO.1 JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-1 Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/47 | MILL NO 2 | MILL NO.2 JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-2 Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/48 | MILL NO 2 | MILL NO.2 JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-2 Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/49 | MILL NO 3 | MILL NO.3 JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-3 Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/50 | MILL NO 3 | MILL NO.3 JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-3 Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/51 | MILL NO 4 | MILL NO.4 JUICE PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-4 Juice Pump-1
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/52 | MILL NO 4 | MILL NO.4 JUICE PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Mill No-4 Juice Pump-2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/53 | COOLING TOWER | HOT WATER IMBIBITION PUMP NO-3 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Hot Water Pump-3
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/54 | AUXILLERY CANE CARRIER OIL PUMP | AUX. CANE CARRIER OIL PUMP 1 & 2 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Aux. Cane Carier oil Pump 1 &2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/55 | MAIN CANE CARRIER | MAIN CANE CARRIER OIL PUMP 1 MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Main Cane Carrier Oil Pump
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/56 | SHREDDER OIL PUMP | SHREDDER OIL PUMP 1 & 2 MOTOR & PANEL | CANE PREPRATORY | ELECTRICAL | SUGAR PLANT MH | Yes | Shredder Oil Pump 1 & 2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/57 | ZERO MILL | ZERO MILL OIL PUMP 1 & 2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Zero Mill Oil Pump 1 & 2
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/58 | MAIN CANE CARRIER | SLATE CLEANING BRUSH MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Slate Cleaning Brush Motor
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/59 | MILL EOT CRANE 50 MT | MILL EOT 50 TON MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | MILL EOT 50 MT
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/60 | MILL EOT CRANE 25 MT | MILL EOT 25 TON MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | MILL EOT 25 MT
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/61 | TRUCK TRIPLER | TRUCK TRIPLER MOTOR & PANEL | CANE HANDLING | ELECTRICAL | SUGAR PLANT MH | Yes | Truck Tripler
electrical Mill house life history Data-30072026.xlsx | electrical -mill house-herarchy-30072026.xlsx | ZIL/GSM/SP/ELECT/MH/62 | AIR CONDITIONER | VFD CONTROL ROOM AIR CONDITIONER | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Air Conditioner
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/01 | BAGAS FEEDER NO.4 | BAGAS FEEDER NO.4 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder No. 4
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/02 | BAGAS FEEDER NO.5 | BAGAS FEEDER NO.5 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder No. 5
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/03 | BAGAS FEEDER NO.3 | BAGAS FEEDER NO.3 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder No.3
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/04 | I.D FAN NO.2 | I.D FAN NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | I.D Fan Motor No.2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/05 | I.D FAN NO.1 | I.D FAN NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | I.D Fan Motor No.1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/06 | S.A FAN NO.1 | S.A FAN NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | S.A Fan Motor No.1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/07 | FEED PUMP NO.1 | FEED PUMP NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Feed Pump Motor No.1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/08 | FEED PUMP NO.2 | FEED PUMP NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Feed Pump Motor No.2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/09 | FEED PUMP NO.3 | FEED PUMP NO.3 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Feed Pump Motor No.3
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/10 | D-SUPPER HEATER PUMP-1 | D-SUPPER HEATER PUMP-1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | D-SUPPER HEATER PUMP-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/11 | D-SUPPER HEATER PUMP-2 | D-SUPPER HEATER PUMP-2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | D-SUPPER HEATER PUMP-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/12 | ASH CONVEYOR-1 | ASH CONVEYOR-1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Ash Convayer-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/13 | SOOT BLOWER LRSB NO.1 | SOOT BLOWER NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/14 | SOOT BLOWER LRSB NO.2 | SOOT BLOWER NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/15 | SOOT BLOWER LRSB NO.3 | SOOT BLOWER NO.3 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-3
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/16 | SOOT BLOWER LRSB NO.4 | SOOT BLOWER NO.4 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-4
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/17 | SOOT BLOWER LRSB NO.5 | SOOT BLOWER NO.5 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-5
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/18 | SOOT BLOWER LRSB NO.6 | SOOT BLOWER NO.6 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-6
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/19 | SOOT BLOWER LRSB NO.7 | SOOT BLOWER NO.7 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower No.-7
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/20 | SOOT BLOWER LRSB NO.1 | SOOT BLOWER LRSB NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower LRSB No.-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/21 | SOOT BLOWER LRSB NO.2 | SOOT BLOWER LRSB NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Soot blower LRSB No.-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/22 | INJECTION PUMP NO.1 | INJECTION PUMP NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Injection Pump No.1 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/23 | INJECTION PUMP NO.2 | INJECTION PUMP NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Injection Pump No.2 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/24 | INJECTION PUMP NO.3 | INJECTION PUMP NO.3 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Injection Pump No.3 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/25 | SHELLERY PUMP NO.1 | SHELLERY PUMP NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Shellery Pump No-1 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/26 | SHELLERY PUMP NO.2 | SHELLERY PUMP NO.2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Shellery Pump No-2 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/27 | SHELLERY PUMP NO.3 | SHELLERY PUMP NO.3 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Shellery Pump No-3 Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/28 | BACK WASH PUMP | BACK WASH PUMP MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Back Wash Pump Motor
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/29 | BAGAS FEEDER NO. 1 | BAGAS FEEDER NO.1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/30 | BAGAS FEEDER NO. 2 | BAGAS FEEDER NO. 2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/31 | BAGAS FEEDER NO. 6 | BAGAS FEEDER NO. 6 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Feeder-6
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/32 | F.D FAN | F.D FAN MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | F.D Fan
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/33 | MBC | MBC MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | MBC
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/34 | RBC | RBC MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | RBC
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/35 | BAGAS ELEVATOR | BAGAS ELEVATOR MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Bagas Elevator
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/36 | TRANSFER PUMP | TRANSFER PUMP MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Transfer pump
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/37 | PCC & MCC PANEL | PCC & MCC PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | PCC & MCC PANEL
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/38 | S.A FAN-2 | S.A FAN-2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | S.A Fan-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/42 | CHEMICAL DOSING PUMP-1 | CHEMICAL DOSING PUMP-1 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | CHEMICAL DOSING PUMP-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/43 | CHEMICAL DOSING PUMP-2 | CHEMICAL DOSING PUMP-2 MOTOR & PANEL | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | CHEMICAL DOSING PUMP-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/70 TPH/52 | CONTROL ROOM | CONTROL ROOM AIR CONDITIONER | 70 TPH BOILER | ELECTRICAL | SUGAR PLANT BOILER | Yes | Control Room A.C
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/BH/39 | BAGAS BLOWER-1 | BAGAS BLOWER-1 MOTOR & PANEL | BOILING HOUSE | ELECTRICAL | SUGAR PLANT BH | Yes | BAGAS BLOWER-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/BH/40 | BAGAS BLOWER-2 | BAGAS BLOWER-2 MOTOR & PANEL | BOILING HOUSE | ELECTRICAL | SUGAR PLANT BH | Yes | BAGAS BLOWER-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/BH/41 | BAGAS BLOWER-3 | BAGAS BLOWER-3 MOTOR & PANEL | BOILING HOUSE | ELECTRICAL | SUGAR PLANT BH | Yes | BAGAS BLOWER-3
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/44 | UNDER GROUND RESORVIOR (UGR) | UGR PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | UGR Pump NO-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/45 | UNDER GROUND RESORVIOR (UGR) | UGR PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | UGR Pump NO-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/46 | UNDER GROUND RESORVIOR (UGR) | UGR PUMP NO-3 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | UGR Pump NO-3
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/47 | COOLING TOWER | COOLING TOWER PUMP NO-1 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Cooling Tower Pump-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/48 | COOLING TOWER | COOLING TOWER PUMP NO-2 MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | Cooling Tower Pump-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/49 | COOLING TOWER NO.1 | COOLING TOWER NO.1 FAN MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | C.T Fan-1
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/50 | COOLING TOWER NO.2 | COOLING TOWER NO.2 FAN MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Yes | C.T Fan-2
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/51 | COOLING TOWER NO.3 | COOLING TOWER NO.3 FAN MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | No
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELCT/PH/06 | AIR CONDITIONER | CONTROL ROOM AIR CONDITIONER | POWER HOUSE AIR CONDITIONER | ELECTRICAL | SUGAR PLANT PH | Yes | Air Conditioner
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELECT/PH/01 | OLD POWER STEAM TURBINE ALTENATOR (OLD-STG) | OLD 3 MW ALTERNATOR | STEAM TG SET | ELECTRICAL | SUGAR PLANT PH | Yes | 3 MW Old alternator No.1
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELECT/PH/02 | NEW POWER STEAM TURBINE (NEW-STG) | NEW 3 MW ALTERNATOR | STEAM TG SET | ELECTRICAL | SUGAR PLANT PH | Yes | 3 MW Old alternator No. 2
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELECT/PH/03 | POWER HOUSE LT PCC | L.T PCC PANEL | POWER HOUSE ELECT PANEL | ELECTRICAL | SUGAR PLANT PH | Yes | Power house PCC
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELECT/PH/04 | POWER HOUSE TRANSFORMER 2.5 MVA | TRANSFORMER 2.5 MVA | POWER HOUSE TRANSFORMER | ELECTRICAL | SUGAR PLANT PH | Yes | Power house Transformer
3_Power House life history.xlsx | 3_Power House life history.xlsx | ZIL/GSM/SP/ELECT/PH/05 | POWER HOUSE LT PCC | CAPACITOR PANEL | POWER HOUSE ELECT PANEL | ELECTRICAL | SUGAR PLANT PH | Yes | Capacitor Panel
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-01 | DS B-CONTI MACHINE | DS B-CONTI NO-1 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE B-CONTI MACHINE | Yes | B-CONTI MC-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-02 | DS B-CONTI MACHINE | DS B-CONTI NO-2 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE B-CONTI MACHINE | Yes | B-CONTI MC-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-03 | DS B-CONTI MACHINE | DS B-CONTI NO-3 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE B-CONTI MACHINE | Yes | B-CONTI MC-3
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/B-CONTI/M-04 | DS B-CONTI MACHINE | DS B-CONTI NO-4 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE B-CONTI MACHINE | Yes | B-CONTI MC-4
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BATCH/M-01 | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.1 MOTOR(AC) | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL | Yes | DS BATCH MC-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BATCH/M-02 | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.2 MOTOR(DC) | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL | Yes | DS BATCH MC-2 DC MOTOR
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/BATCH/M-03 | DS 'A' C/F MACHINE | DS 'A' C/F MACHINE(1750 KG) NO.3 MOTOR(AC) | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE BATCH TYPE CENTRIFUGAL | Yes | DS BATCH MC-3
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-01 | DS C-CONTI MACHINE | DS C-CONTI-1 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-03 | DS C-CONTI MACHINE | DS C-CONTI-3 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-3
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-04 | DS C-CONTI MACHINE | DS C-CONTI-4 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-4
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-05 | DS C-CONTI MACHINE | DS C-CONTI-5 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-5
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-06 | DS C-CONTI MACHINE | DS C-CONTI-6 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-6
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-07 | DS C-CONTI MACHINE | DS C-CONTI-7 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-7
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-09 | DS C-CONTI MACHINE | DS C-CONTI-9 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-9
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/C-CONTI/M-10 | DS C-CONTI MACHINE | DS C-CONTI-10 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C-CONTI | Yes | C-CONTI-10
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-01 | DS COMMON CONDENSATE | DS COMMON CONDENSATE PUMP MOTOR-1 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE COMMON CONDENSATE | Yes | COMMON CONDENSATE-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CC/M-02 | DS COMMON CONDENSATE | DS COMMON CONDENSATE PUMP MOTOR-2 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE COMMON CONDENSATE | Yes | COMMON CONDENSATE-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CJ/M-01 | DS CLEAR JUICE | DS CLEAR JUICE PUMP MOTOR-1 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE CLEAR JUICE | Yes | CLEAR JUICE PUMP MOTOR-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/CJ/M-02 | DS CLEAR JUICE | DS CLEAR JUICE PUMP MOTOR-2 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE CLEAR JUICE | Yes | CLEAR JUICE PUMP MOTOR-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/ETP C/M-01 | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.1 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE ETP COMPRESSOR | Yes | ETP COMPRESSOR-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/ETP C/M-02 | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.2 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE ETP COMPRESSOR | Yes | ETP COMPRESSOR-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/ETP C/M-03 | DS ETP COMPRESSOR | DS ETP COMPRESSOR NO.3 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE ETP COMPRESSOR | Yes | ETP COMPRESSOR-3
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-01 | DS FFE(1250) CIRCULATION | DS FFE(1250) CIRCULATION PUMP NO.1 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(1250)-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(1250)/M-02 | DS FFE(1250) CIRCULATION | DS FFE(1250) CIRCULATION PUMP NO.2 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(1250)-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-01 | DS FFE(1250) TRANSFER | DS FFE(1250) TRANSFER PUMP NO.1 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(1250)T-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(1250)T/M-02 | DS FFE(1250) TRANSFER | DS FFE(1250) TRANSFER PUMP NO.2 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(1250)T-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-01 | DS FFE(2500) CIRCULATION | DS FFE(2500) CIRCULATION PUMP NO.1 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(2500)-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(2500)/M-02 | DS FFE(2500) CIRCULATION | DS FFE(2500) CIRCULATION PUMP NO.2 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(2500)-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-01 | DS FFE(2500) TRANSFER | DS FFE(2500) TRANSFER PUMP NO.1 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(2500)T-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/FFE(2500)T/M-02 | DS FFE(2500) TRANSFER | DS FFE(2500) TRANSFER PUMP NO.2 MOTOR. | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE FFE | Yes | FFE(2500)T-2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/INJECTION/M-01 | DS INJECTION | DS INJECTION-1 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE INJECTION | Yes | INJECTION-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/INJECTION/M-04 | DS INJECTION | DS INJECTION-4 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE INJECTION | Yes | INJECTION-4
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/INJECTION/M-05 | DS INJECTION | DS INJECTION-5 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE INJECTION | Yes | INJECTION-5
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SK/M-01 | DS Semi kestner | DS Semi kestner juice transfer pump-1 (South) Motor | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE SEMI KESTNER | Yes | SEMI KESTNER JUICE TRANSFER -1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SK/M-02 | DS Semi kestner | DS Semi kestner juice transfer pump-2 (North) Motor | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE SEMI KESTNER | Yes | SEMI KESTNER JUICE TRANSFER -2
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/SPRAY/M-01 | DS SPRAY | DS SPRAY-1 MOTOR | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE SPRAY | Yes | SPRAY-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VC/M-01 | DS Vapour cell juice | DS Vapour cell juice transfer pump-1(S) Motor | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE VAPOUR CELL | Yes | Vapour cell juice TF pump-1
4_DS Electrical Equipment Life History - MOTORS.xlsx | 4_DS Electrical Equipment Life History - MOTORS.xlsx | ZIL/GSM/SP/ELECT/DS/VC/M-02 | DS Vapour cell juice | DS Vapour cell juice transfer pump-2(N) Motor | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE VAPOUR CELL | Yes | Vapour cell juice TF-2
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/14'x30' | DS VACUUM filter 14'x30' | DS VACUUM filter 14'x30' VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-2nd | Yes | VACUUM FILTER 14'x30
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/14'x36' | DS VACUUM filter 14'x36' | DS VACUUM filter 14'x36' VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-2nd | Yes | VACUUM FILTER 14'x36'
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/1750 AC-1 | DS 1750 WIL MACHINE-1 | DS 1750 WIL AC VFD PANEL-1 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C/F M/C BATCH TYPE 1750 | Yes | DS 1750 WIL AC-1
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/1750 AC-3 | DS 1750 WIL MACHINE-3 | DS 1750 WIL AC VFD PANEL-3 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C/F M/C BATCH TYPE 1750 | Yes | DS 1750 WIL AC-3
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/AIR BLOWER | DS AIR BLOWER | DS AIR BLOWER NO.3 VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-1st | Yes | AIR BLOWER NO.3
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/CJ-1 | DS CLEAR JUICE PUMP | DS CLEAR JUICE PUMP-1 VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-1st | Yes | CLEAR JUICE PUMP-1
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/DC-1750-2 | DS 1750 NHEC MACHINE-2 | DS 1750 NHEC(DC) VFD PANEL-2 | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE C/F M/C BATCH TYPE 1750 | Yes | DS 1750 NHEC DC-2
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/DSW-1 | Distillery Syrup weightment | DS Distillery Syrup weightment Pump no.1 VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-2nd | Yes | Distillery W S Pump-1
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/DSW-2 | Distillery Syrup weightment | DS Distillery Syrup weightment Pump no.2 VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-2nd | Yes | Distillery W S Pump-2
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/INJ-5 | DS INJECTION PUMP | DS INJECTION PUMP NO.5 VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE MCC ROOM-1st | Yes | Injection Pump No.5
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/MS DOSING(E) | DS Molten Sulphur Dosing | DS Molten Sulphur Dosing pump(E) VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE | Yes | MOLTEN SULPHUR DOSING PUMP(E)
5_DS Electrical Equipment Live History - VFD PANEL.xlsx | 5_DS Electrical Equipment Live History - VFD PANEL.xlsx | ZIL/GSM/SP/ELECT/DS/VFD/MS DOSING(W) | DS Molten Sulphur Dosing | DS Molten Sulphur Dosing pump(W) VFD PANEL | DS House | ELECTRICAL | SUGAR PLANT DS HOUSE | Yes | MOLTEN SULPHUR DOSING PUMP(W)

## Missing in data
source file | hierarchy file | EQUIPMENT TAG NO | Main Equipment | Sub Equipment | Location | Department | History card Location | Issue
2_70 TPH boiler life history.xlsx | 2_70 TPH boiler life history.xlsx | ZIL/GSM/SP/ELCT/MH/51 | COOLING TOWER NO.3 | COOLING TOWER NO.3 FAN MOTOR & PANEL | MILLING | ELECTRICAL | SUGAR PLANT MH | Hierarchy tag has no matching data sheet

## Duplicate tags
source file | hierarchy file | sheet name | EQUIPMENT TAG NO | Main Equipment | Sub Equipment | Location | Issue

## Not in hierarchy
source file | hierarchy file | sheet name | EQUIPMENT TAG NO | NAME OF EQUIPMENT | Issue

## Hierarchy duplicates
source file | hierarchy file | EQUIPMENT TAG NO | Main Equipment | Sub Equipment | Location | Department | Hierarchy row | Issue