## Sheet1
Sr.No. | Plant | Section | Location | Main Equipment | Sub Equipment | Department
21 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS CONTROL PANEL | INSTRUMENT
22 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS MARSHLLING I/O PANEL | INSTRUMENT
23 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS MARSHLLING D/I PANEL | INSTRUMENT
24 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS MARSHLLING D/O PANEL | INSTRUMENT
25 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS OPERATOR STATION & CONSOLE | INSTRUMENT
25 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | MILL DCS OPERATOR STATION & CONSOLE | INSTRUMENT
26 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL UPS | MILL UPS 1 | INSTRUMENT
27 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL UPS | MILL UPS 2 | INSTRUMENT
30 | SUGAR | MILL HOUSE | MILL DCS CONTROL ROOM | MILL DCS | FIRE FIGHTING SYSTEM | INSTRUMENT
35 | SUGAR | MILL HOUSE | JUICE MEASUREMENT | MASS FLOW METER FOR DS SIDE | MASS FLOW METER 4" | INSTRUMENT
36 | SUGAR | MILL HOUSE | JUICE MEASUREMENT | MAG FLOW METER FOR DS SIDE | MAG FLOW METER 6" | INSTRUMENT
37 | SUGAR | MILL HOUSE | JUICE MEASUREMENT | MASS FLOW METER FOR REF SIDE | MASS FLOW METER 6" | INSTRUMENT
38 | SUGAR | MILL HOUSE | JUICE MEASUREMENT | MAG FLOW METER FOR REF SIDE | MAG FLOW METER 8" | INSTRUMENT
39 | SUGAR | MILL HOUSE | IMIBIBITION WATER MEASUREMENT | MILL IMBIBITION MAG FLOW METER | MILL IMBIBITION MAG FLOW METER | INSTRUMENT
40 | SUGAR | MILL HOUSE | IMIBIBITION WATER MEASUREMENT | ROTARY IMBIBITION MAG FLOW METER | ROTARY IMBIBITION MAG FLOW METER | INSTRUMENT
41 | SUGAR | MILL HOUSE | IMIBIBITION WATER MEASUREMENT | MILL IMBIBITION WATER CONTROL VALVE-1 | MILL IMBIBITION WATER CONTROL VALVE-1 | INSTRUMENT
42 | SUGAR | MILL HOUSE | IMIBIBITION WATER MEASUREMENT | MILL IMBIBITION WATER CONTROL VALVE-2 | MILL IMBIBITION WATER CONTROL VALVE-2 | INSTRUMENT
141 | SUGAR | MILL HOUSE | CANE HANDLING-CAH | MAIN CANE CARRIER | MAIN CANE CARRIER FLD INST | INSTRUMENT
174 | SUGAR | MILL HOUSE | CANE PREPRATORY-CAP | SHREDDER | SHREDDER FIELD INST 1 | INSTRUMENT
175 | SUGAR | MILL HOUSE | CANE PREPRATORY-CAP | SHREDDER | SHREDDER FIELD INST 2 | INSTRUMENT
208 | SUGAR | MILL HOUSE | MILLING | ZERO MILL | ZERO MILL FLD INST | INSTRUMENT
225 | SUGAR | MILL HOUSE | MILLING | MILL NO 1 | MILL NO-1 FLD INST | INSTRUMENT
226 | SUGAR | MILL HOUSE | MILLING | MILL NO 1 | MILL NO 1 STEAM TURBINE | INSTRUMENT
243 | SUGAR | MILL HOUSE | MILLING | MILL NO 2 | MILL NO-2 FLD INST | INSTRUMENT
244 | SUGAR | MILL HOUSE | MILLING | MILL NO 2 | MILL NO 2 STEAM TURBINE | INSTRUMENT
261 | SUGAR | MILL HOUSE | MILLING | MILL NO 3 | MILL NO-3 FLD INST | INSTRUMENT
262 | SUGAR | MILL HOUSE | MILLING | MILL NO 3 | MILL NO 3 STEAM TURBINE | INSTRUMENT
281 | SUGAR | MILL HOUSE | MILLING | MILL NO 4 | MILL NO-4 FLD INST | INSTRUMENT
320 | SUGAR | MILL HOUSE | MILLING | PRIMERY JUICE ROTARY SCREEN | PRIMERY JUICE ROTARY SCREEN FLD INST | INSTRUMENT
320 | SUGAR | MILL HOUSE | MILLING | PRIMERY JUICE ROTARY SCREEN | PRIMERY JUICE ROTARY SCREEN FLD INST | INSTRUMENT
330 | SUGAR | MILL HOUSE | MILLING | SECONDARY JUICE ROTARY SCREEN-2 | SECONDARY JUICE ROTARY SCREEN 2 FLD INST | INSTRUMENT
330 | SUGAR | MILL HOUSE | MILLING | SECONDARY JUICE ROTARY SCREEN-2 | SECONDARY JUICE ROTARY SCREEN 2 FLD INST | INSTRUMENT
330 | SUGAR | MILL HOUSE | MILLING | SECONDARY JUICE ROTARY SCREEN-2 | SECONDARY JUICE ROTARY SCREEN 2 FLD INST | INSTRUMENT
330 | SUGAR | MILL HOUSE | MILLING | SECONDARY JUICE ROTARY SCREEN-2 | SECONDARY JUICE ROTARY SCREEN 2 FLD INST | INSTRUMENT
407 | SUGAR | MILL HOUSE | MILLING | TANK & PIPE LINE | IMB WATER TANK LEVEL CONTROL VALVE | INSTRUMENT
420 | SUGAR | MILL HOUSE | MILLING | COOLING TOWER 1 | UGR FLD INST | INSTRUMENT
420 | SUGAR | MILL HOUSE | MILLING | COOLING TOWER 1 | UGR FLD INST | INSTRUMENT
470 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS CONTROL PANEL1 | INSTRUMENT
471 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS CONTROL PANEL2 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL1 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL2 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL3 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL4 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL5 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL6 | INSTRUMENT
472 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C1 PANEL7 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL1 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL2 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL3 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL4 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL5 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL6 | INSTRUMENT
473 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS MARSHLLING C2 PANEL7 | INSTRUMENT
480 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS SERVER PANEL | INSTRUMENT
480 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS SERVER PANEL | INSTRUMENT
481 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS ENGG STATION & CONSOLE | INSTRUMENT
482 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
482 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
482 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
482 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
482 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
483 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE UPS | RAW HOUSE UPS 1 | INSTRUMENT
484 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE UPS | RAW HOUSE UPS 2 | INSTRUMENT
488 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS CONTROL PANEL | INSTRUMENT
489 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS MARSHLLING C4 PANEL-1 | INSTRUMENT
489 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS MARSHLLING C4 PANEL-2 | INSTRUMENT
489 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS MARSHLLING C4 PANEL-3 | INSTRUMENT
489 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS MARSHLLING C4 PANEL-4 | INSTRUMENT
489 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REFINERY HOUSE DCS MARSHLLING C4 PANEL-5 | INSTRUMENT
493 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE DCS | REF. HOUSE DCS OPERATOR STATION &CONSOLE | INSTRUMENT
494 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE UPS | REFINERY HOUSE UPS 1 | INSTRUMENT
495 | SUGAR | REFINERY HOUSE | REFINERY HOUSE DCS CONTROL ROOM | REFINERY HOUSE UPS | REFINERY HOUSE UPS 2 | INSTRUMENT
499 | SUGAR | REFINERY HOUSE | REFINERY HOUSE PLC CONTROL ROOM | REFINERY HOUSE BRS PLC | REFINERY HOUSE BRS CONTROL PANEL | INSTRUMENT
500 | SUGAR | REFINERY HOUSE | REFINERY HOUSE PLC CONTROL ROOM | REFINERY HOUSE MCS PLC | REFINERY HOUSE MCS PLC CONTROL PANEL | INSTRUMENT
500 | SUGAR | REFINERY HOUSE | REFINERY HOUSE PLC CONTROL ROOM | REFINERY HOUSE MCS PLC | REFINERY HOUSE MCS PLC CONTROL PANEL | INSTRUMENT
500 | SUGAR | REFINERY HOUSE | REFINERY HOUSE PLC CONTROL ROOM | REFINERY HOUSE MCS PLC | REFINERY HOUSE MCS PLC CONTROL PANEL | INSTRUMENT
507 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | VAPOUR LINE JUICE HEATER | VLJH FLD INST | INSTRUMENT
512 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | RAW JUICE HEATER | RAW JUICE HEATER 1 | INSTRUMENT
513 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | RAW JUICE HEATER | RAW JUICE HEATER 2 | INSTRUMENT
520 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | LIME DOSING STATION | LIME DOSING TANK 1 FLD INST | INSTRUMENT
520 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | LIME DOSING STATION | LIME DOSING TANK 1 FLD INST | INSTRUMENT
532 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | DEFICATION UNIT | DEFICATED JUICE TRANS PUMP 1 FLD INST | INSTRUMENT
536 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | DEFICATION UNIT | DEFICATED JUICE DCH 1 FLD INST | INSTRUMENT
541 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | DEFICATION UNIT | DEFICATED JUICE DCH 2 FLD INST | INSTRUMENT
543 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | SRT FLD INST | INSTRUMENT
543 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | SRT FLD INST | INSTRUMENT
543 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | SRT FLD INST | INSTRUMENT
543 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | SRT FLD INST | INSTRUMENT
544 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | MAGNAFLOC PREPARATION TANK FLD INST | INSTRUMENT
549 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | MAGNAFLOC DOSING 1 FLD INST | INSTRUMENT
559 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | SHORT RETENTION CALRIFIER | MUD JUICE TRANS 1 FLD INST | INSTRUMENT
581 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | CLEAR JUICE DCH 1 FLD INST | INSTRUMENT
581 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | CLEAR JUICE DCH 1 FLD INST | INSTRUMENT
581 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | CLEAR JUICE DCH 2 FLD INST | INSTRUMENT
582 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | SK3400 M² (1 EFECT) FLD INST | INSTRUMENT
582 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | SK3400 M² (1 EFECT) FLD INST | INSTRUMENT
582 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | CLEAR JUICE HEATING | SK3400 M² (1 EFECT) FLD INST | INSTRUMENT
596 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IIND EFFECT EVAPORATOR | VC3800 M² EVAPORATOR BODY FLD INST | INSTRUMENT
598 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IST /IIND EFFECT EVAPORATOR | SK2500 M² (IST/IIND EFECT) FLD INST | INSTRUMENT
600 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IST /IIND EFFECT EVAPORATOR | FFE-1250 M² (IST/IIND EFECT) FLD INST | INSTRUMENT
612 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IIIRD EFFECT EVAPORATOR | 2500 M² BODY SET A FLD INST | INSTRUMENT
614 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IIIRD EFFECT EVAPORATOR | 2500 M² BODY SET B FLD INST | INSTRUMENT
616 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IVTH EFFECT EVAPORATOR | 1000 M² BODY SET A FLD INST | INSTRUMENT
618 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | IVTH EFFECT EVAPORATOR | 836 M² BODY SET B FLD INST | INSTRUMENT
620 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | 800 M² BODY SET A FLD INST | INSTRUMENT
620 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | 800 M² BODY SET A FLD INST | INSTRUMENT
622 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | 800 M² BODY SET B FLD INST | INSTRUMENT
622 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | 800 M² BODY SET B FLD INST | INSTRUMENT
624 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET A FLD INST | INSTRUMENT
624 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET A FLD INST | INSTRUMENT
624 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET A FLD INST | INSTRUMENT
624 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET A FLD INST | INSTRUMENT
624 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET A FLD INST | INSTRUMENT
626 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET B FLD INST | INSTRUMENT
626 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET B FLD INST | INSTRUMENT
626 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET B FLD INST | INSTRUMENT
626 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET B FLD INST | INSTRUMENT
626 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | VTH EFFECT EVAPORATOR | CONDENSER EVAPORATOR SET B FLD INST | INSTRUMENT
627 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | CPU LINE WATER FLOW | CPU LINE FLD INST | INSTRUMENT
627 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | CPU LINE WATER FLOW | CPU LINE FLD INST | INSTRUMENT
628 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | COND. EXTRACTION SYSTEM | CIGAR FLD INST | INSTRUMENT
647 | SUGAR | REFINERY HOUSE | EVAPORATION SYSTEM | SYRUP EXTRACTION | SYRUP EXTRACTION PUMP FLD INST | INSTRUMENT
676 | SUGAR | REFINERY HOUSE | AIR COMPRESSORS & DRIERS | INSTRUMENT AIR COMPRESSOR | AIR COMPRESSOR 1 FLD INST | INSTRUMENT
679 | SUGAR | REFINERY HOUSE | AIR COMPRESSORS & DRIERS | INSTRUMENT AIR COMPRESSOR | AIR COMPRESSOR 2 FLD INST | INSTRUMENT
679 | SUGAR | REFINERY HOUSE | AIR COMPRESSORS & DRIERS | INSTRUMENT AIR COMPRESSOR | AIR COMPRESSOR 3 FLD INST | INSTRUMENT
680 | SUGAR | REFINERY HOUSE | AIR COMPRESSORS & DRIERS | Instrument Air Dryer | Instrument Air Dryer 1 INST. | INSTRUMENT
751 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.1 & CONDENSER FLD INST | INSTRUMENT
815 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | RAW CENTRIFUGAL MACHINE | RAW CENTRIFUGAL MACHINE (750) 4 FLD INST | INSTRUMENT
834 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | RAW HOUSE DCS SERVER PANEL | INSTRUMENT
837 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | SHWW SYSTEM | E-BOILER FOR RAW MC CURING SHWW FLD INST | INSTRUMENT
837 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | SHWW SYSTEM | E-BOILER FOR RAW MC CURING SHWW FLD INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
866 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
867 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTI PAN PLC PANEL ENG/OP STATION | INSTRUMENT
867 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTI PAN PLC PANEL ENG/OP STATION | INSTRUMENT
868 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
868 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
868 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
868 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | B CONTINUES PAN | B CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
900 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B MASSECUITE CONTINUOUS MACHINE | B MASSECUITE CONTI MACHINE 1 FLD INST | INSTRUMENT
903 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B MASSECUITE CONTINUOUS MACHINE | B MASSECUITE CONTI MACHINE 2 FLD INST | INSTRUMENT
906 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B MASSECUITE CONTINUOUS MACHINE | B MASSECUITE CONTI MACHINE 3 FLD INST
906 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B MASSECUITE CONTINUOUS MACHINE | B MASSECUITE CONTI MACHINE 3 FLD INST | INSTRUMENT
908 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B-MOLASSES RUN OFF SYSTEM | B MOLASSES RUN OFF TANK FLD INST | INSTRUMENT
935 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | DCH MOLASSES | BH MOLASSES DCH | INSTRUMENT
935 | SUGAR | REFINERY HOUSE | PAN BOILING | DCH MOLASSES | R3 MOLASSES DCH | INSTRUMENT
935 | SUGAR | REFINERY HOUSE | PAN BOILING | DCH MOLASSES | C LIGHT MOLASSES DCH | INSTRUMENT
935 | SUGAR | REFINERY HOUSE | PAN BOILING | DCH MOLASSES | A HEAVY MOLASSES DCH | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
940 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN AUTO FEED CONTROL INST | INSTRUMENT
942 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
942 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
942 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
942 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | C CONTINUES PAN | C CONTINUES PAN & CONDENSER FLD INST | INSTRUMENT
971 | SUGAR | REFINERY HOUSE | C MASSECUITE CURING | C-CONTINUOUS MACHINE | C-CONTI MACHINE 1 FLD INST | INSTRUMENT
974 | SUGAR | REFINERY HOUSE | C MASSECUITE CURING | C-CONTINUOUS MACHINE | C-CONTI MACHINE 2 FLD INST | INSTRUMENT
977 | SUGAR | REFINERY HOUSE | C MASSECUITE CURING | C-CONTINUOUS MACHINE | C-CONTI MACHINE 3 FLD INST | INSTRUMENT
1022 | SUGAR | REFINERY HOUSE | C MASSECUITE CURING | B/ C MASSECUITE COOLING & REHEATING SYS | B/C MASSECUITE COLD WATER CIRC TANK INST | INSTRUMENT
1038 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW SUGAR MELTER | RAW SUGAR MELTER FLD INST | INSTRUMENT
1038 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW SUGAR MELTER | RAW SUGAR MELTER FLD INST | INSTRUMENT
1038 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW SUGAR MELTER | RAW SUGAR MELTER FLD INST | INSTRUMENT
1038 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW SUGAR MELTER | RAW SUGAR MELTER FLD INST | INSTRUMENT
1053 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | UNTREATED MELT BUFFER TANK | UNTREATED BUFFER TANK FLD INST | INSTRUMENT
1053 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | UNTREATED MELT BUFFER TANK | UNTREATED BUFFER TANK FLD INST | INSTRUMENT
1063 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW MELT REACTION TANK | REACTION TANK FLD INST | INSTRUMENT
1128 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | MELT CLARIFIER | CLEAR MELT TANK FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1131 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | DEEP BED FILTER | DEEP BED FILTER FLD INST | INSTRUMENT
1151 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | FILTER LIQUOR TANK & PUMP | FILTER LIQUOR TANK FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1159 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..1 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1161 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..2 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..3 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..4 FLD INST | INSTRUMENT
1163 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | IER COLUMN | IER COLUMN NO..4 FLD INST | INSTRUMENT
1181 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | HOT WATER TANK FLD INST | INSTRUMENT
1184 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | HOT WATER PUMP1 FLD INST | INSTRUMENT
1184 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | HOT WATER PUMP1 FLD INST | INSTRUMENT
1184 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | HOT WATER PUMP1 FLD INST | INSTRUMENT
1189 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | RECOVERED WATER TANK FLD INST | INSTRUMENT
1192 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | RECOVERED WATER PUMP1 FLD INST | INSTRUMENT
1192 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | RECOVERED WATER PUMP1 FLD INST | INSTRUMENT
1192 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | HOT /RECOVERED WATER | RECOVERED WATER PUMP1 FLD INST | INSTRUMENT
1197 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SWEET WATER | SWEET WATER TANK FLD INST | INSTRUMENT
1197 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SWEET WATER | SWEET WATER TANK FLD INST | INSTRUMENT
1200 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SWEET WATER | SWEET WATER PUMP1 FLD INST | INSTRUMENT
1208 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SATURATED BRINE PUMP1 FLD INST | INSTRUMENT
1208 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SATURATED BRINE PUMP1 FLD INST | INSTRUMENT
1208 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SATURATED BRINE PUMP1 FLD INST | INSTRUMENT
1212 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SAND FILTER FLD INST | INSTRUMENT
1212 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SAND FILTER FLD INST | INSTRUMENT
1212 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SAND FILTER FLD INST | INSTRUMENT
1214 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SATURATED BRINE PTHE FLD INST | INSTRUMENT
1214 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | SATURATED BRINE | SATURATED BRINE PTHE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1215 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | BRS IST STAGE FLD INST | INSTRUMENT
1221 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IST STAGE | SPENT BRINE FEED TANK FLD INST | INSTRUMENT
1241 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IIND STAGE | BRS IIND STAGE FLD INST | INSTRUMENT
1241 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IIND STAGE | BRS IIND STAGE FLD INST | INSTRUMENT
1241 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IIND STAGE | BRS IIND STAGE FLD INST | INSTRUMENT
1241 | SUGAR | REFINERY HOUSE | MELT DECOLORISATION & BRS UNIT | BRS IIND STAGE | BRS IIND STAGE FLD INST | INSTRUMENT
1262 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY 1 FLD INST | INSTRUMENT
1264 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY 2 FLD INST | INSTRUMENT
1266 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY 3 FLD INST | INSTRUMENT
1266 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY FLD INST | INSTRUMENT
1266 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY FLD INST | INSTRUMENT
1266 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY FLD INST | INSTRUMENT
1266 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR BODY FLD INST | INSTRUMENT
1268 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR CONDENSER FLD INST | INSTRUMENT
1268 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR CONDENSER FLD INST | INSTRUMENT
1268 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR CONDENSER FLD INST | INSTRUMENT
1268 | SUGAR | REFINERY HOUSE | MELT CONCENTRATION UNIT | MELT CONCENTRATOR | MELT CONCENTRATOR CONDENSER FLD INST | INSTRUMENT
1350 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | REFINERY CENTRIFUGAL MACHINE | REFINERY CENTRIFUGAL MACHINE 4 FLD INST | INSTRUMENT
1353 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | SHWW SYSTEM | E-BOILER FOR REF. M/C CURING SHWW INST | INSTRUMENT
1353 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | SHWW SYSTEM | E-BOILER FOR REF. M/C CURING SHWW INST | INSTRUMENT
1383 | SUGAR | REFINERY HOUSE | SUGAR DRYING UNIT | FLUIDIZED BED DRYER | FBD HOT AIR BLOWER FLD INST | INSTRUMENT
1414 | SUGAR | REFINERY HOUSE | SUGAR DRYING UNIT | DUST COLLECTION SYSTEM NO.1 | DUST COLLECTOR SWEET WATER TANK FLD INST | INSTRUMENT
1491 | SUGAR | REFINERY HOUSE | SUGAR BAGGING & HANDLING SYSTEM | SUGAR WEIGHING MACHINE | SUGAR WEIGHING MACHINE 1 FLD INST | INSTRUMENT
1493 | SUGAR | REFINERY HOUSE | SUGAR BAGGING & HANDLING SYSTEM | SUGAR WEIGHING MACHINE | SUGAR WEIGHING MACHINE 2 FLD INST | INSTRUMENT
1495 | SUGAR | REFINERY HOUSE | SUGAR BAGGING & HANDLING SYSTEM | SUGAR WEIGHING MACHINE | SUGAR WEIGHING MACHINE 3 FLD INST | INSTRUMENT
1497 | SUGAR | REFINERY HOUSE | SUGAR BAGGING & HANDLING SYSTEM | SUGAR WEIGHING MACHINE | SUGAR WEIGHING MACHINE 4 FLD INST | INSTRUMENT
1497 | SUGAR | REFINERY HOUSE | SUGAR BAGGING & HANDLING SYSTEM | SUGAR WEIGHING MACHINE | SUGAR WEIGHING MACHINE 5 FLD INST | INSTRUMENT
1546 | SUGAR | REFINERY HOUSE | RAW HOUSE DCS CONTROL MAIN ROOM | RAW HOUSE DCS | FIRE FIGHTING SYSTEM | INSTRUMENT
1549 | SUGAR | REFINERY HOUSE | SYRUP CLARIFICATION SYSTEM | SYRUP CLARIFIER | SYRUP DCH FLD INST | INSTRUMENT
1559 | SUGAR | DS HOUSE | DS HOUSE ELECT PANEL ROOM | DS HOUSE ELECTRICAL PANEL | FIRE FIGHTING SYSTEM | INSTRUMENT
1567 | SUGAR | DS HOUSE | DS HOUSE SEDL CONTROL PANEL | DS HOUSE PAN CONDENSOR AUTOMATION | SEDL CONTROL PANEL & OPERATING SYSTEM | INSTRUMENT
1567 | SUGAR | DS HOUSE | DS HOUSE SEDL CONTROL PANEL | DS HOUSE PAN CONDENSOR AUTOMATION | SEDL CONTROL PANEL & OPERATING SYSTEM | INSTRUMENT
1569 | SUGAR | DS HOUSE | DS HOUSE VRL CONTROL ROOM | DS HOUSE CONTROL ROOM VRL | D S HOUSE DCS OPERATOR STATION & CONSOLE | INSTRUMENT
1603 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | RAW JUICE HEATER | EXHAUST COND. PUMP FLD INST | INSTRUMENT
1603 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | RAW JUICE HEATER | EXHAUST COND. PUMP FLD INST | INSTRUMENT
1614 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | ENG-TECH JUICE SULPHITER | ENG-TECH JUICE SULP FLD INST | INSTRUMENT
1633 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | SULPHITED JUICE HEATER DCH | S J HEATER DCH STAGE -2 FLD INST | INSTRUMENT
1675 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | LIME PRIPARATION SYSTEM | MILK OF LIME PUMP1 FLD INST | INSTRUMENT
1675 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | LIME PRIPARATION SYSTEM | MILK OF LIME PUMP1 FLD INST | INSTRUMENT
1691 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | FILM TYPE SULPHUR BURNER | FILM TYPE SULPHUR BURNER FLD INST | INSTRUMENT
1723 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | EECTRIC BOILER | E- BOILER WATER FEED PUMP1 FLD INST | INSTRUMENT
1765 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | CLEAR JUICE TRANSFER SYSTEM | CLEAR JUICE PUMP1 MOTOR FLD INST | INSTRUMENT
1770 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | CLEAR JUICE HEATER DCH | CLEAR JUICE HEATER DCH STAGE -1 FLD INST | INSTRUMENT
1824 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | ROTARY VACCUM FILTER | VACUUM PUMP1 FLD INST | INSTRUMENT
1824 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | ROTARY VACCUM FILTER | VACUUM PUMP1 FLD INST | INSTRUMENT
1865 | SUGAR | DS HOUSE | VACCUM SYSTEM | INJECTION PUMP | INJECTION HEADER FLD INST | INSTRUMENT
1895 | SUGAR | DS HOUSE | AIR COMPRESSORS & DRIERS | AIR COMPRESSOR | AIR COMPRESSOR 1 FLD INST | INSTRUMENT
1896 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST EFFECT EVAPORATOR | SEMI KESTNER-2500 M2 FLD INST | INSTRUMENT
1896 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST EFFECT EVAPORATOR | SEMI KESTNER-2500 M2 FLD INST | INSTRUMENT
1896 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST EFFECT EVAPORATOR | SEMI KESTNER-2500 M2 FLD INST | INSTRUMENT
1897 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST EFFECT EVAPORATOR | SEMI KESTNER-2500 M2 FLD INST | INSTRUMENT
1905 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST / 2ND EFFECT EVAPORATOR | VAPOUR CELL-2500 M2 FLD INST | INSTRUMENT
1905 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST / 2ND EFFECT EVAPORATOR | VAPOUR CELL-2500 M2 FLD INST | INSTRUMENT
1905 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IST / 2ND EFFECT EVAPORATOR | VAPOUR CELL-2500 M2 FLD INST | INSTRUMENT
1928 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 2ND EFFECT EVAPORATOR | FFE -2500 M2 FLD INST | INSTRUMENT
1931 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 2ND EFFECT EVAPORATOR | FFE -2500 M2 JUICE TRANS PUMP1 FLD INST | INSTRUMENT
1931 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 2ND EFFECT EVAPORATOR | FFE -2500 M2 JUICE TRANS PUMP1 FLD INST | INSTRUMENT
1942 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 2ND EFFECT EVAPORATOR | FFE -1250 M2 FLD INST | INSTRUMENT
1942 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 2ND EFFECT EVAPORATOR | FFE -1250 M2 FLD INST | INSTRUMENT
1956 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 3RD EFFECT EVAPORATOR | 930 M2 BODY SET -A FLD INST | INSTRUMENT
1958 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 3RD EFFECT EVAPORATOR | 930 M2 BODY SET -B FLD INST | INSTRUMENT
1960 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 3RD EFFECT EVAPORATOR | 743 M2 BODY SET -C FLD INST | INSTRUMENT
1962 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 5TH EFFECT EVAPORATOR | 743 M2 BODY SET -A FLD INST | INSTRUMENT
1964 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IIIRD EFFECT EVAPORATOR | 743 M2 BODY SET -B FLD INST | INSTRUMENT
1966 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 4TH EFFECT EVAPORATOR | 743 M2 BODY SET -C FLD INST | INSTRUMENT
1968 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 5TH EFFECT EVAPORATOR | 743 M2 BODY SET -A FLD INST | INSTRUMENT
1970 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IIIRD EFFECT EVAPORATOR | 743 M2 BODY SET -B FLD INST | INSTRUMENT
1972 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | IIIRD EFFECT EVAPORATOR | 743 M2 BODY SET -C FLD INST | INSTRUMENT
1974 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 5TH EFFECT EVAPORATOR | CONDENSER SET-A FLD INST | INSTRUMENT
1976 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 5TH EFFECT EVAPORATOR | CONDENSER SET-B FLD INST | INSTRUMENT
1978 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | 5TH EFFECT EVAPORATOR | CONDENSER SET-C FLD INST | INSTRUMENT
2019 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | COND. COOLING SYSTEM | COND. COOLING TOWER 1 FLD INST | INSTRUMENT
2044 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | COLD WATER TANK | COLD WATER.TANK FLD INST | INSTRUMENT
2044 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | COLD WATER TANK | COLD WATER.TANK FLD INST | INSTRUMENT
2047 | SUGAR | DS HOUSE | EVAPORATION SYSTEM | ACCUMULATOR PUMP | ACCUMULATOR PUMP1 FLD INST | INSTRUMENT
2066 | SUGAR | DS HOUSE | A MASSECUITE BOILING | SYRUP STORAGE TANK | SYRUP STORAGE TANK 1 FLD INST | INSTRUMENT
2102 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 9 FLD INST | INSTRUMENT
2104 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 9 CONDENSER FLD INST | INSTRUMENT
2106 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 11 FLD INST | INSTRUMENT
2106 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 11 FLD INST | INSTRUMENT
2106 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 11 FLD INST | INSTRUMENT
2108 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 11 CONDENSER FLD INST | INSTRUMENT
2110 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 12 FLD INST | INSTRUMENT
2110 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 12 FLD INST | INSTRUMENT
2112 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-PAN | PAN 12 CONDENSER FLD INST | INSTRUMENT
2138 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-OVER HEAD CRYSTALLIZER | A-OVER HEAD XLR FLD INST | INSTRUMENT
2138 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-OVER HEAD CRYSTALLIZER | A-OVER HEAD XLR FLD INST | INSTRUMENT
2138 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-OVER HEAD CRYSTALLIZER | A-OVER HEAD XLR FLD INST | INSTRUMENT
2142 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A/B PAN | PAN 10 | INSTRUMENT
2143 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A/B PAN | PAN 10 FLD INST | INSTRUMENT
2143 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A/B PAN | PAN 10 FLD INST | INSTRUMENT
2145 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A/B PAN | PAN 10 CONDENSER FLD INST | INSTRUMENT
2147 | SUGAR | DS HOUSE | A MASSECUITE BOILING | A-HEAVY MOLASSES DCH | A-HY MOLASSES DCH 1 FLD INST | INSTRUMENT
2176 | SUGAR | DS HOUSE | B MASSECUITE BOILING | B-PAN | PAN 8 FLD INST | INSTRUMENT
2176 | SUGAR | DS HOUSE | B MASSECUITE BOILING | B-PAN | PAN 8 FLD INST | INSTRUMENT
2178 | SUGAR | DS HOUSE | B MASSECUITE PAN BOILING | B-PAN | PAN 8 CONDENSER FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2180 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN FLD INST | INSTRUMENT
2182 | SUGAR | DS HOUSE | A MASSECUITE BOILING | B-PAN | VERTICAL CONTI PAN CONDENSER FLD INST | INSTRUMENT
2231 | SUGAR | DS HOUSE | C MASSECUITE BOILING | B- HEAVY MOLASSES STORAGE TANK | B HY MOLASSES STORAGE TANK 1 FLD INST | INSTRUMENT
2231 | SUGAR | DS HOUSE | C MASSECUITE BOILING | B- HEAVY MOLASSES STORAGE TANK | B HY MOLASSES STORAGE TANK 1 FLD INST | INSTRUMENT
2253 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 1 FLD INST | INSTRUMENT
2253 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 1 FLD INST | INSTRUMENT
2253 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 1 FLD INST | INSTRUMENT
2255 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 1 CONDENSER FLD INST | INSTRUMENT
2257 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 2 FLD INST | INSTRUMENT
2257 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 2 FLD INST | INSTRUMENT
2259 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 2 CONDENSER FLD INST | INSTRUMENT
2261 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 3 FLD INST | INSTRUMENT
2261 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 3 FLD INST | INSTRUMENT
2265 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 4 FLD INST | INSTRUMENT
2265 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 4 FLD INST | INSTRUMENT
2267 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-PAN | PAN 4 CONDENSER FLD INST | INSTRUMENT
2269 | SUGAR | DS HOUSE | C MASSECUITE BOILING | B-PAN | PAN 6 FLD INST | INSTRUMENT
2271 | SUGAR | DS HOUSE | B MASSECUITE PAN BOILING | B-PAN | PAN 6 CONDENSER FLD INST | INSTRUMENT
2354 | SUGAR | DS HOUSE | C1 MASSECUITE BOILING | C1-PAN | PAN 5 FLD INST | INSTRUMENT
2358 | SUGAR | DS HOUSE | B MASSECUITE PAN BOILING | B-PAN | PAN 7 FLD INST | INSTRUMENT
2359 | SUGAR | DS HOUSE | C1 MASSECUITE BOILING | C1-PAN | PAN 7 CONDENSER FLD INST | INSTRUMENT
2390 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | A-CENTRIFUGAL MACHINE | A-CENTRIFUGAL MACHINE 1 FLD INST | INSTRUMENT
2390 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | A-CENTRIFUGAL MACHINE | A-CENTRIFUGAL MACHINE 1 FLD INST | INSTRUMENT
2510 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | CAW CENTRIFUGAL MACHINE | CAW CENTRIFUGAL MACHINE 1 FLD INST | INSTRUMENT
2513 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | CAW CENTRIFUGAL MACHINE | CAW CENTRIFUGAL MACHINE 2 FLD INST | INSTRUMENT
2516 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | CAW CENTRIFUGAL MACHINE | CAW CENTRIFUGAL MACHINE 3 FLD INST | INSTRUMENT
2546 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | C1FW CENTRIFUGAL MACHINE | C1FW CENTRIFUGAL MACHINE 4 FLD INST | INSTRUMENT
2549 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | C1FW CENTRIFUGAL MACHINE | C1FW CENTRIFUGAL MACHINE 5 FLD INST | INSTRUMENT
2571 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | CFW CENTRIFUGAL MACHINE | CFW CENTRIFUGAL MACHINE 6 FLD INST | INSTRUMENT
2615 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT B-HY MOLASSES TRANS PUMP1 INST | INSTRUMENT
2615 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT B-HY MOLASSES TRANS PUMP1 INST | INSTRUMENT
2621 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT SYRUP TRANS PUMP1 FLD INST | INSTRUMENT
2621 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT SYRUP TRANS PUMP1 FLD INST | INSTRUMENT
2621 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT SYRUP TRANS PUMP1 FLD INST | INSTRUMENT
2621 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT SYRUP TRANS PUMP1 FLD INST | INSTRUMENT
2621 | SUGAR | DS HOUSE | MASSECUITE CURING SECTION | B-HEAVY MOLASSES | WEIGHMENT SYRUP TRANS PUMP1 FLD INST | INSTRUMENT
2740 | SUGAR | DS HOUSE | SUGAR DRYING & BAGGING | SUGAR WEIGHING MACHINE | L-31 SUGAR WEIGHING MACHINE NO1 INST | INSTRUMENT
2742 | SUGAR | DS HOUSE | SUGAR DRYING & BAGGING | SUGAR WEIGHING MACHINE | M-31 SUGAR WEIGHING MACHINE 2 INST | INSTRUMENT
2744 | SUGAR | DS HOUSE | SUGAR DRYING & BAGGING | SUGAR WEIGHING MACHINE | M-31 SUGAR WEIGHING MACHINE 3 INST | INSTRUMENT
2746 | SUGAR | DS HOUSE | SUGAR DRYING & BAGGING | SUGAR WEIGHING MACHINE | S-31 SUGAR WEIGHING MACHINE 4 INST | INSTRUMENT
2870 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | DEFICATION UNIT | DEFICATED FLD INST | INSTRUMENT
2870 | SUGAR | REFINERY HOUSE | JUICE HEATING AND CLARIFICATION | DEFICATION UNIT | DEFICATED FLD INST | INSTRUMENT
3021 | SUGAR | REFINERY HOUSE | AIR COMPRESSORS & DRIERS | Instrument Air Dryer | Instrument Air Dryer 2 INST. | INSTRUMENT
3091 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN 1 AUTO FEED CONTROL INSTRUMENT | INSTRUMENT
3092 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.1 & CONDENSER FLD INST | INSTRUMENT
3092 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.1 & CONDENSER FLD INST | INSTRUMENT
3092 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.1 & CONDENSER FLD INST | INSTRUMENT
3092 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.1 & CONDENSER FLD INST | INSTRUMENT
3098 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN 2 AUTO FEED CONTROL INSTRUMENT | INSTRUMENT
3099 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.2 & CONDENSER FLD INST | INSTRUMENT
3099 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.2 & CONDENSER FLD INST | INSTRUMENT
3099 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.2 & CONDENSER FLD INST | INSTRUMENT
3099 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.2 & CONDENSER FLD INST | INSTRUMENT
3099 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.2 & CONDENSER FLD INST | INSTRUMENT
3105 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN 3 AUTO FEED CONTROL INSTRUMENT | INSTRUMENT
3106 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.3 & CONDENSER FLD INST | INSTRUMENT
3106 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.3 & CONDENSER FLD INST | INSTRUMENT
3106 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.3 & CONDENSER FLD INST | INSTRUMENT
3106 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.3 & CONDENSER FLD INST | INSTRUMENT
3106 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.3 & CONDENSER FLD INST | INSTRUMENT
3118 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | RAW MASSECUITE CRYSTALLISER | RAW M/C XLR 1 FLD INST | INSTRUMENT
3123 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | RAW MASSECUITE CRYSTALLISER | RAW M/C XLR 2 FLD INST | INSTRUMENT
3128 | SUGAR | REFINERY HOUSE | RAW MASSECUITE CURING | RAW MASSECUITE CRYSTALLISER | RAW M/C XLR 3 FLD INST | INSTRUMENT
3196 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | RAW PAN NO.4 | RAW PAN 4 AUTO FEED CONTROL INSTRUMENT | INSTRUMENT
3197 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.4 & CONDENSER FLD INST | INSTRUMENT
3197 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.4 & CONDENSER FLD INST | INSTRUMENT
3197 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.4 & CONDENSER FLD INST | INSTRUMENT
3197 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.4 & CONDENSER FLD INST | INSTRUMENT
3197 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN | RAW PAN N.4 & CONDENSER FLD INST | INSTRUMENT
3203 | SUGAR | REFINERY HOUSE | B MASSECUITE PAN BOILING | RAW PAN NO.5 | RAW PAN 5 AUTO FEED CONTROL INSTRUMENT | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.5 | RAW PAN N.5 & CONDENSER FLD INST | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.5 | RAW PAN N.5 & CONDENSER FLD INST | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.5 | RAW PAN N.5 & CONDENSER FLD INST | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.5 | RAW PAN N.5 & CONDENSER FLD INST | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.R3 | RAW PAN N.R3 & CONDENSER FLD INST | INSTRUMENT
3204 | SUGAR | REFINERY HOUSE | RAW PAN BOILING | RAW PAN NO.R3 | RAW PAN N.R3 & CONDENSER FLD INST | INSTRUMENT
3269 | SUGAR | REFINERY HOUSE | B MASSECUITE CURING | B- SUGAR MAGMA | B/C MELTER FLD INST | INSTRUMENT
3369 | SUGAR | REFINERY HOUSE | C MASSECUITE CURING | B/ C MASSECUITE COOLING & REHEATING SYS | B/C MASSECUITE COLD WATER CIRCPUMP2 INST | INSTRUMENT
3402 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | RAW MELT REACTION TANK | RAW MELT HEATER FLD INST | INSTRUMENT
3454 | SUGAR | REFINERY HOUSE | RAW MELT CLARIFICATION SYSTEM | SCUM HOLDING TANK | SCUM TRANS PUMP1 FLD INST | INSTRUMENT
3622 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | FINE LIQUOR & MOLASSES STORAGE | R1 MOLASSES DCH FLD INST | INSTRUMENT
3624 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | FINE LIQUOR & MOLASSES STORAGE | R LIGHT MOLASSES DCH FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3629 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 1 & PAN CONDENSER FLD INST | INSTRUMENT
3634 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 2 & PAN CONDENSER FLD INST | INSTRUMENT
3634 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 2 & PAN CONDENSER FLD INST | INSTRUMENT
3634 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 2 & PAN CONDENSER FLD INST | INSTRUMENT
3634 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 2 & PAN CONDENSER FLD INST | INSTRUMENT
3634 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 2 & PAN CONDENSER FLD INST | INSTRUMENT
3639 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 3 & PAN CONDENSER FLD INST | INSTRUMENT
3639 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 3 & PAN CONDENSER FLD INST | INSTRUMENT
3639 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 3 & PAN CONDENSER FLD INST | INSTRUMENT
3639 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 3 & PAN CONDENSER FLD INST | INSTRUMENT
3639 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE BOILING | REFINERY PAN | REFINERY PAN 3 & PAN CONDENSER FLD INST | INSTRUMENT
3655 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | REFINED MASSECUITE CRYSTALLISER | REFINED M/C CRYSTALLISER 1 FLD INST | INSTRUMENT
3659 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | REFINED MASSECUITE CRYSTALLISER | REFINED M/C CRYSTALLISER 2 FLD INST | INSTRUMENT
3663 | SUGAR | REFINERY HOUSE | REFINED MASSECUITE CURING | REFINED MASSECUITE CRYSTALLISER | REFINED M/C CRYSTALLISER 3 FLD INST | INSTRUMENT
3950 | SUGAR | DS HOUSE | DS HOUSE | FILTERATE FLOW | FILTERATE FLOW-FLD INST | INSTRUMENT
3951 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-HEAVY MOLASSES WEIGHMENT | WEIGHMENT C-HY MOLASSES PANEL CONTROLLER | INSTRUMENT
3951 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-HEAVY MOLASSES WEIGHMENT | WEIGHMENT C-HY MOLASSES PANEL CONTROLLER | INSTRUMENT
3951 | SUGAR | DS HOUSE | C MASSECUITE BOILING | C-HEAVY MOLASSES WEIGHMENT | WEIGHMENT C-HY MOLASSES PANEL CONTROLLER | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
3954 | SUGAR | DS HOUSE | JUICE HEATING & CLARIFICATION | Mud Removal system | MUD REMOVAL SYSTEM FLD INST | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4016 | SUGAR | ETP | ETP-INSTRUMENT | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4020 | SUGAR | POWER HOUSE | STEAM TG SET | OLD POWER STEAM TURBINE GENERATOR SET | OLD POWER STEAM TURBINE | INSTRUMENT
4034 | SUGAR | POWER HOUSE | STEAM TG SET | OLD POWER STEAM TURBINE GENERATOR SET | OLD POWER STEAM TURBINE FIELD INST | INSTRUMENT
4035 | SUGAR | POWER HOUSE | STEAM TG SET | NEW POWER STEAM TURBINE (NEW-STG) | NEW POWER STEAM TURBINE | INSTRUMENT
4049 | SUGAR | POWER HOUSE | STEAM TG SET | NEW POWER STEAM TURBINE (NEW-STG) | NEW POWER STEAM TURBINE FIELD INST | INSTRUMENT
4241 | SUGAR | WORKSHOP | TUBEWELL | TUBEWELL NO-1 ADMIN BLOCK | TUBEWELL NO-1 ADMIN BLOCK FLD INST | INSTRUMENT
4244 | SUGAR | WORKSHOP | TUBEWELL | TUBEWELL NO-2 CANE YARD | TUBEWELL NO-2CANE YARDFLD INST | INSTRUMENT
4424 | SUGAR | STP | STP-Instrument | Instrument Panel & HMI | Instrument Panel , HMI & Fld Inst. | INSTRUMENT
4532 | SUGAR | DS HOUSE | TUBEWELL | TUBEWELL NO-4 DISTERLY | TUBEWELL NO-4 DISTERLY WATER LINE FLD INST | INSTRUMENT
4532 | SUGAR | DS HOUSE | TUBEWELL | TUBEWELL NO-4 DISTERLY | TUBEWELL NO-4 DISTERLY WATER LINE FLD INST | INSTRUMENT