## Random 15 Tags
# | Tag | In filtered extract? | Turbine sheet tab | Equipment name (extract) | Location (extract) | Found in turbine sheet? (Y/N) | Notes
1 | ZIL/GSM/C-1/PANEL-5 | Y | conntroller - :: ZIL/GSM/C-1/PANEL-5 | CLUSTER MODULE PRIMERY & REDUNDANT | DCS FOR SUGAR PLANT EXPANSION C1 I/O PANEL-5(F) RAW HOUSE
2 | ZIL/GSM/Server-1 | Y | Work stations :: ZIL/GSM/Server-1 | Server-1 | SERVER FOR SUGAR PLANT RAW HOUSE RAKE ROOM
3 | ZIL/SUG./001 (22XV024G04 ) | Y | Ref. Condensor 57 :: ZIL/SUG./001 (22XV024G04 ) | Control valve | SUGAR UNIT -Cooling condenser Jet valve RAW. Pan.no.4 (Refinery)
4 | ZIL/SUG./001 (52 XV 318) | Y | I.E.R 49 :: ZIL/SUG./001 (52 XV 318) | Control valve | SUGAR UNIT-I.E.R Column No 3 Chemical & Hot water Inltet Control Valve (Refinery)
5 | ZIL/SUG./001/ EVP- B SET | Y | SEDL14 :: ZIL/SUG./001/ EVP- B SET | SEDL Condenser | SUGAR UNIT -DS EVP- B SET Condenser
6 | ZIL/SUG./001/B-HEAVY-CV1 | Y | Weingh-54-65 :: ZIL/SUG./001/B-HEAVY-CV1 | Control valve | SUGAR UNIT - DS B havey weighing scale inlet
7 | ZIL/SUG./001/DS EVP- C SET | Y | SEDL14 :: ZIL/SUG./001/DS EVP- C SET | SEDL Condenser | SUGAR UNIT -DS EVP- C SET Condenser
8 | ZIL/SUG./004 (XV_RJ1_SOV1) | Y | Mill-16 :: ZIL/SUG./004 (XV_RJ1_SOV1) | Control valve | SUGAR UNIT - Rotary screen Valve 01(A)
9 | ZIL/SUG./01/75.FT.035.01. | Y | DS Flow Meter-31 :: ZIL/SUG./01/75.FT.035.01. | Flow Meter | SUGAR UNIT - Decanter 02- I/L Flow Meter
10 | ZIL/SUG./01/TX.-01 | Y | Transmitter :: ZIL/SUG./01/TX.-01 | Pressure,Level,Temperature Tx. | SUGAR UNIT - Condensate Flush Tank
11 | ZIL/SUG./018 ( 05LCV.060B01) | Y | RJH-21-27 :: ZIL/SUG./018 ( 05LCV.060B01) | Control valve | SUGAR UNIT - Raw SRT Pump O/L line valve
12 | ZIL/SUG./029 (17.BCV.020.B01) | Y | RAW FEED VALVE-33 :: ZIL/SUG./029 (17.BCV.020.B01) | Control valve | SUGAR UNIT - RAW PAN No 04 Auto feed Valve
13 | ZIL/SUG./045 (07.LCV.080.B01) | Y | RAW QUAD 47 :: ZIL/SUG./045 (07.LCV.080.B01) | Control valve | SUGAR UNIT - Raw Quad 800 B Body O/L Control Valve
14 | ZIL/SUG./B.COMP-CT-04 | Y | B COUNTI.PAN 27-65 :: ZIL/SUG./B.COMP-CT-04 | Control valve | SUGAR UNIT - B Conti.Compartment No 04
15 | ZIL/SUG./C.COMP-CT-05 | Y | B COUNTI.PAN 27-65 :: ZIL/SUG./C.COMP-CT-05 | Control valve | SUGAR UNIT - C Conti.Compartment No 5

## Instructions
Purpose
15 randomly selected tags from the 428 Sugar House tag filter. Spot-check these against the Turbine life-history workbook.
How to validate
1. Open: Turbine & Instrument Equipment life histroy 20-06-2026.xlsx
2. Go to the Turbine sheet tab listed for each tag (or search the tag).
3. Confirm equipment name / location / specs match the extract and DigiLog form.
4. Fill Found in turbine sheet? (Y/N) and Notes.
Related files
Tag filter: DigiLog\scripts\data\shn-extract-tag-filter.txt
Filtered extract: sugar-house-equipment-life-history-filtered.xlsx
Source turbine: Turbine & Instrument Equipment life histroy 20-06-2026.xlsx